## Header page
EMT_PID_TAGName
History of versions
| Version | Author | Description | Date of update
| 0.00 | Adrien | Document first release to Billfinger (old version P00D) | 2021-12-13
| 0.01 | Thierry | Review | 2021-12-15
| 0.02 | Adrien | Global tags review
| 00.07 | Thierry | Compared tags with FDS 2.0 issue from the corparate library | 2023-03-28
| 00.08 |  |  | 2023-04-21
| 00.09 | Thierry |  | 2023-06-21
| 00.10 | Thierry | Modified following FDS review and worskshop | 2023-07-05
| 00.11 | Thierry | Modified following FDS review and worskshop | 2023-07-18
| 00.12 | Thierry | Modified following FDS review and worskshop
| 00.13 | Adrien | Modified following FDS review and worskshop | 2024-01-09
00.14
| 00.15 | Vincent
Description:
This document gather all control module and instrument tags of the Panzyga Project. It Concerns all actuators: valves, control valves, motors… and sensors: temperature, pressure, conductivity…

## TagName
Validé
Différence à discuter
Existant mais Nouvelle affectation fonctionnelle
Incohérence ou plus existant
A revoir (Mauvais code couleur utilisé nécessite revérif)
Nouveau
NA/ | Cnt name (10car)
COMMENT | EM Name & ID | Tag version | Plage INDEX<xyz> | [ A ] CM_Actuator1 |  |  |  |  | [ B ] CM_Actuator2 |  |  |  |  | [ C ] CM_Actuator3 |  |  |  |  | [ D ] CM_Actuator4 |  |  |  |  | [ E ] CM_Actuator5 |  |  |  |  | [ F ] CM_Actuator6 |  |  |  |  | [ G ] CM_Actuator7 |  |  |  |  | [ H ] CM_Actuator8 |  |  |  |  | [ I ] CM_Actuator9 |  |  |  |  | [ J ] CM_Actuator10 |  |  |  |  | [ K ] CM_Actuator11 |  |  |  |  | [ L ] CM_Actuator12 |  |  |  |  | [ M ] CM_Actuator13 |  |  |  |  | [ N ] CM_Actuator14 |  |  |  |  | [ O ] CM_Actuator15 |  |  |  |  | [ P] CM_Actuator16 |  |  |  |  | [ Q ] CM_Actuator17 |  |  |  |  | [ R ] CM_Actuator18 |  |  |  |  | [ S ] CM_Actuator19 |  |  |  |  | [ T ] CM_Actuator20 |  |  |  |  | [U] CM_Actuator21 |  |  |  |  | [V] CM_Actuator22 |  |  |  |  | [W] CM_Actuator23 |  |  |  |  | [X] CM_Actuator24 |  |  |  |  | [Y] CM_Actuator25 |  |  |  |  | [Z] CM_Actuator26 |  |  |  |  | [AA] CM_Actuator27 |  |  |  |  | [AB] CM_Actuator27 |  |  |  |  | [AC] CM_Actuator27 |  |  |  |  | [AD] CM_Actuator27 |  |  |  |  | CM_Instrum1 |  |  |  |  | CM_Instrum2 |  |  |  |  | CM_Instrum3 |  |  |  |  | CM_Instrum4 |  |  |  |  | CM_Instrum5 |  |  |  |  | CM_Instrum6 |  |  |  |  | CM_Instrum7 |  |  |  |  | CM_Instrum8 |  |  |  |  | CM_Instrum9 |  |  |  |  | CM_Instrum10 |  |  |  |  | CM_Instrum11 |  |  |  |  | CM_Instrum12
|  |  |  | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | RoleName | Description | PID_CM_Tag | Display Name | French description | Name & I/O Name | Description | PID_CM_Tag | Display Name | French description | Name & I/O Name | Description | PID_CM_Tag | Display Name | French description | Name & I/O Name | Description | PID_CM_Tag | Display Name | French description | Name & I/O Name | Description | PID_CM_Tag | Display Name | French description | Name & I/O Name | Description | PID_CM_Tag | Display Name | French description | Name & I/O Name | Description | PID_CM_Tag | Display Name | French description | Name & I/O Name | Description | PID_CM_Tag | Display Name | French description | Name & I/O Name | Description | PID_CM_Tag | Display Name | French description | Name & I/O Name | Description | PID_CM_Tag | Display Name | French description | Name & I/O Name | Description | PID_CM_Tag | Display Name | French description | Name & I/O Name | Description | PID_CM_Tag | Display Name | French description | Name & I/O Name | Description | PID_CM_Tag | Display Name | French description
| 1001-EMT_Agit |  | 100…104 | Agit01 | Motor Agitator | XM100 | Agitator01 | Moteur agitateur pendulaire | [145 empty] | PV_AgitST01 | Agitator speed 1 | ST100 | NA | Recopie vitesse agitateur pendulaire |  |  |  | NA |  |  |  |  | NA
Fdesc OK |  |  |  |  | Frequency converter Agitator Pendular | SY100 |  | Variateur de fréquence agitateur pendulaire | [148 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
|  |  |  | Agit01 | Motor Agitator | XM101 | Agitator01 | Moteur agitateur magnétique | [145 empty] | PV_AgitST01 | Agitator speed 1 | ST101 | NA | Recopie vitesse agitateur magnétique |  |  |  | NA |  |  |  |  | NA
[5 empty] | Frequency converter Agitator Magnetic | SY101 |  | Variateur de fréquence agitateur magnétique | [148 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
Fdesc OK | 1002-EMT_TCU | Base Version | 105…114 | DJShOfV01 | Double Jacket shutOff valve 1 | XV105 | DJ_shutOff_V01 | Vanne d'isolement caloporteur DE | DJCircP01 | Double Jacket circulate pump 1 | XM106 | DJ_Circulate_P01 | Moteur pompe caloporteur DE | EHeatCV01 | Exchange Heating Control Valve 1 | CV107 | Exchang_Heat_CV01 | Vanne de régulation caloporteur chaud | HotShOfV01 | Exchange Heating shutOff valve 1 | XV108 | Exchang_Heat_shutOff_V01 | Vanne d'isolement caloporteur chaud | ECoolCV01 | Exchange Cooling Control Valve 1 | CV109 | Exchang_Cool_CV01 | Vanne de régulation caloporteur froid | ColShOfV01 | Exchange Cooling shutOff valve 1 | XV110 | Exchang_Cool_shutOff_V01 | Vanne d'isolement caloporteur froid | DJHEInHV01 | Double Jacket heat exchanger inlet manuel valve 1 | HV111 |  | Vanne d'isolement entrée échangeur DE | DJHEOutV01 | Double Jacket exchanger outlet manuel valve 1 | HV112 |  | Vanne d'isolement caloporteur DE entrée cuve | HEHotDnV01 | Heat Exchanger Hot Drain manuel valve 1 | HV113 |  | Vanne drain caloporteur chaud | HEColDnV01 | Heat Exchanger Cold Drain valve 1 | HV114 |  | Vanne drain caloporteur froid | [103 empty] | NA |  | PV_DJTT01 | Double jacket temperature 1 | TT106 | NA | Température caloporteur DE |  |  |  | NA
|  | Release 1 | 880…889 | [50 empty] | PmpInHV01 | Pump Inlet manuel valve 1 | HV880 |  | Vanne d'isolement entrée pompe caloporteur DE | PmpDrnHV01 | Pump Inlet Drain manuel valve 1 | HV881 |  | Vanne drain entrée pompe caloporteur DE | ExpVessHV01 | Expansion Vessel manual valve 1 | HV882 |  | Vanne d'isolement vase d'expansion caloporteur DE | DJVDrnHV01 | Double Jacket Vessel Drain manual valve 1 | HV883 |  | Vanne drain caloporteur DE entrée cuve | DJCtrlHV01 | Double Jacket Vessel inlet control flow manual valve 1 | HV884 |  | Vanne débit caloporteur DE entrée cuve | HEHoOutV01 | Heat Exchanger primary Hot Outlet manual valve 1 | HV885 |  |  | HEHoIntV01 | Heat Exchanger primary Hot Inlet manual valve 1 | HV886 |  | Vanne d'isolement entrée caloporteur chaud | HECoOutV01 | Heat Exchanger Cool Outlet manual valve 1 | HV887 |  |  | HECoIntV01 | Heat Exchanger Cool Inlet manual valve 1 | HV888 |  | Vanne d'isolement entrée caloporteur froid | DJPurgHV01 | Double jacket return purge manual valve 1 | HV889 |  | Vanne drain caloporteur DE sortie cuve | [53 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
|  | Release 2 | 815-819 | [100 empty] | DJFilHV01 | Double jacket top filling valve 1 | HV815 |  |  | DJPurFHV01 | Double jacket feed purge manual valve 1 | HV816 |  |  | DJPurFHV02 | Double jacket return purge manual valve 2 | HV817 |  | Vanne drain caloporteur DE sortie cuve | DJPurgHV03 | Double jacket return purge manual valve 3 | HV818 |  | Vanne drain caloporteur DE sortie cuve | Reserve | Reserve | 819 | Reserve | Reserve | [28 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
| 1003-EMT_CCA | Base Version | 115…124 | VShOfV01 | Vessel filter shutOff valve 1 | XV115 | Vessel_shutOff_V01 | Vanne d'isolement sortie filtre évent | AirInltV01 | Filter air inlet shutOff valve 1 | XV116 | Filter_Air_Inlet_V01 | Vanne d'isolement arrivée air filtre évent | VVentV01 | Vessel filter ventilation valve 1 production area | XV117 | Vessel_Ventile_V01 | Vanne d'évent filtre local process | VVentV02 | Vessel filter ventilation valve 2 technical area | XV118 | Vessel_Ventile_V02 | Vanne d'évent filtre zone technique | FCndsV01 | Vessel filter inlet line condensate drain valve 1 | XV119 | Filter_Condensate_V01 | Vanne condensats SIP filtre évent | FCndsV02 | Vessel filter condensate drain valve 2 | XV120 | Filter_Condensate_V02 | Vanne condensats filtre évent | AirInCV01 | Filter air inlet control valve 1 | CV121 | Filter_Air_Inlet_CV01 | Détendeur arrivée air | TLShOfV01 | Transfer line filter shutOff valve 1 | XV122 | TransferLine_shutOff_V01 | Vanne d'isolement air ligne transfert | TLDrnV01 | Transfer line filter drain valve 1 | XV123 | TransferLine_Drain_V01 | Vanne drain ligne transfert | FHeatR01 | Filter heat resistor 1 | ES124 | Heat_Resistor_R01 | Manteau chauffant | [100 empty] | PV_SIPDrnTT01 | SIP drain temperature 1 | TT115 | NA | Température retour condensats filtre évent | PV_SIPDrnTT02 | SIP drain temperature 2 | TT116 | NA | Température retour condensats filtre évent | PV_VesselPT02 | Vessel Pressure 2 | PT117 | NA | Pression cuve | NA/ | Air flexible position switch 1 | ZS118 | NA | [11 empty] | PV_AirCVPT01 | Air Control valve Pressure 1 | PT121 |  | Pression détendeur air
|  | Release 1 | 820...824 | [50 empty] | ACSampHV01 | Air Filter outlet sampling manual valve 1 | HV820 | Filter_Air_Samp_HV01 | Vanne prélèvement sortie filtre | FTLFeedV01 | Filter Transfer line feed valve 1 | XV821 | Filter_TrsfLine_Feed_V01 | Vanne d'alimentation air ligne transfert | FStmInV01 | Filter Steam inlet valve 1 | XV822 | FStmInV01 | Vanne injection vapeur | FHFInV01 | Filter Hose flexible inlet valve 1 | XV823 | Filter_HoseFlex_Inlt_V01 |  | Reserve | Reserve | 824 | Reserve | Reserve | [78 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
| 1004-EMT_WFI_PoU | Base Version | 125…139 | Reserve | Reserve | 125 | Reserve | Reserve | CIPInltV01 | WFI Point of use CIP inlet valve 1 | XV126 | WFI_PoU_CIP_Inlt_V01 |  | DistSOfV01 | WFI Point of use distribution shut off valve 1 | XV127 | WFI_PoU_Distrib_ShOf_V01 |  | SIPShOfV01 | WFI Point of use SIP shut off valve 1 | XV128 | WFI_PoU_SIP_ShutOf_V01 |  | Reserve | Reserve | 129 | Reserve | Reserve | DistribV01 | WFI Point of use distribution valve 1 | XV130 | WFI_PoU_Distr_V01 |  | DistrbCV01 | WFI Point of use distribution control valve 1 | CV131 | WFI_PoU_Distr_Crtl_V01 |  | SIPDrnV02 | WFI Point of use SIP condensate drain valve 2 | XV132 | WFI_PoU_SIP_CondDrn_V02 |  | SIPDrnV01 | WFI Point of use SIP condensate drain valve 1 | XV133 | WFI_PoU_SIP_CondDrn_V01 | Vanne retour condensats SIP PoU EPPI | WfiSampV01 | WFI Point of use sampling Valve 1 | XV134 | WFI_PoU_Sampl_V01 |  | ByPassV01 | WFI Point of use CV Bypass valve 1 | XV135 | WFI_PoU_CV_Bypass_V01 |  | StmFeedV01 | WFI Point of use steam feeding valve 1 | XV136 | WFI_PoU_Steam_Feed_V01 |  | AirFeedV01 | WFI Point of use air feeding valve 1 | XV137 | WFI_PoU_Air_Feed_V01 |  | Reserve | Reserve | 138 | Reserve | Reserve | DistribV02 | WFI Point of use distribution valve 2 | XV139 | WFI_PoU_Distr_V02 | [76 empty] | PV_SIPDrnTT01 | SIP drain temperature 1 | TT125 | NA | Température retour condensats SIP PoU EPPI | PV_WfiFeedFT01 | Wfi distribution line feed flowrate 1 | FT126 | NA | Débit alimentation EPPI ligne transfert | NA | WFI position sensor 1 | ZS127 | NA | Détection pontage ligne alimentation EPPI | NA/WfiZS01 | WFI position sensor 1 | ZS128 | NA |  |  |  | 129 |  |  |  |  | 130 |  |  |  |  | 131 |  |  | PV_SIPDrnTT02 | SIP drain temperature 2 | TT132 | PV_SIPDrnTT02
[159 empty] | PV_WfiFeedFS01 | Product detection flowmeter sensor 1 | FS126 | NA
[159 empty] | PV_WfiFeedFQ01 | Quantity meter flowmeter 1 | FQ126 | NA
|  | Release 1 | 550…559 | [75 empty] | DistDrnV01 | WFI Point of use distribution line drain valve 1 | XV550 | WFI_PoU_DistLine_Drn_V01 |  | Reserve | Reserve | 551 | Reserve | Reserve | Reserve | Reserve | 552 | Reserve | Reserve | Reserve | Reserve | 553 | Reserve | Reserve | Reserve | Reserve | 554 | Reserve | Reserve | Reserve | Reserve | 555 | Reserve | Reserve | Reserve | Reserve | 556 | Reserve | Reserve | Reserve | Reserve | 557 | Reserve | Reserve | Reserve | Reserve | 558 | Reserve | Reserve | Reserve | Reserve | 559 | Reserve | Reserve | [28 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
| 1005-EMT_V_Inlet | Base Version | 140…159 | CIP1FdV01 | CIP1 feeding line valve 1 | XV140 | CIP1_FeedLine_V01 | Vanne d'arrivée CIP | StmFeedV01 | Steam feeding valve 1 | XV141 | Steam_feed_V01 | Vanne d'arrivée vapeur | CIPShOfV01 | CIP1 feeding line shutoff valve 1 | XV142 | CIP1_FeedLine_ShOf_V01 | Vanne d'isolement arrivée CIP | TLCIPFdV01 | Transfer line CIP feeding valve 1 | XV143 | TransfLine_CIP_Feed_V01 |  | CIPShOfV02 | CIP2 and SIP feeding line shutoff valve 2 | XV144 | CIPSIP_FeedLine_ShOf_V02 |  | TLFeedV01 | Transfer line feeding valve 1 | XV145 | Trsf_Line_Feeding_V01 |  | TLShOfV01 | Transfer line feeding shutoff valve 1 | XV146 | Trsf_Line_Feed_ShOf_V01 |  | TLFdDrnV01 | Transfer line feeding drain valve 1 | XV147 | Trsf_Line_Feed_Drain_V01 |  | EqBLSOfV01 | Equipment buffer line CIP shutoff valve 1 | XV148 | Eqt_BufLine_CIP_ShOf_V01 | Vanne d'isolement CIP ligne tampon cuve | VCIPBalV01 | Vessel CIP balls shutoff valve 1 | XV149 | Vessel_CIP_Ball_ShOf_V01 | Vanne d'isolement boules CIP | VCIPB1V01 | Vessel CIP ball 1 Valve 1 | XV150 | Vessel_CIP_Ball1_V01 |  | VCIPB2V01 | Vessel CIP ball 2 Valve 1 | XV151 | Vessel_CIP_Ball2_V01 |  | RgSoFDnV01 | Ring shutoff drain valve 1 | XV152 | Ring_ShutOff_Drain_V01 |  | EqPrdBkV01 | Equipment product line block valve 1 | XV153 | Eqt_ProdLin_Block_V01 |  | PInShOfV01 | Equipment product line inlet shutoff valve 1 | XV154 | Eqt_ProdLin_inl_ShOf_V01 |  | EqPrdInV01 | Equipment product line inlet valve 1 | XV155 | Eqt_ProdLin_inlet_V01 |  | EqPrdInV02 | Equipment product line inlet valve 2 | XV156 | Eqt_ProdLin_inlet_V02 |  | EqPrdDnV01 | Equipment product line drain valve 1 | XV157 | Eqt_ProdLin_Drain_V01 | [6 empty] | EqBLDrnV01 | Equipment buffer line CIP drain valve 1 | XV158 | Eqt_BufLine_CIP_Drn_V01 | [6 empty] | CIPOutV01 | CIP outlet line shutoff valve 1 | XV159 | CIP_Outlet_ShutOff_V01 | [41 empty] | NA | CIP bridging position switch 1 | ZS140 | NA | Détection pontage CIP |  |  |  | NA |  |  |  |  | NA |  | PV_TL1InFS01 | Transfer line 1 inlet flow switch 1 | FS143 | NA | Détection produit ligne1 de tranfert | PV_TL2InFS01 | Transfer line 2 inlet flow switch 1 | FS144 | NA | Détection produit ligne 2 de tranfert
|  | Release 1 | 495…499 | [90 empty] | VCIPB3V01 | Vessel CIP ball 3 valve 1 | XV495 | Vessel_CIP_Ball3_V01 | [6 empty] | VCIPB4V01 | Vessel CIP ball 4 valve 1 | XV496 | Vessel_CIP_Ball4_V01 | [6 empty] | VStmInlV01 | Vessel steam inlet valve 1 | XV497 | Vessel_Steam_inlet_V01 |  | TLCIPSOV01 | Transfer line CIP feeding shut off valve 1 | XV498 | TransfLine_CIP_FdSO_V01 | Reserve | EqPrdDnV02 | Equipment product line drain valve 2 | XV499 | Eqt_ProdLin_Drain_V02
|  | Release 2 | 500-504 | [125 empty] | EqPdCndV01 | Equipment product line condensate valve 1 | XV500 | Eqt_ProdLin_Cond_V01 |  | TL1lnCV01 | Transfer line 1 inlet control valve 1 | CV501 | TransferLine1_Inlet_CV01 |  | TL2lnCV01 | Transfer line 2 inlet control valve 1 | CV502 | TransferLine2_Inlet_CV01 |  | CIPRdInV01 | Vessel CIP radial inlet valve 1 | XV503 | Reserve |  | CIPRdSOV01 | Vessel CIP radial shutoff valve 1 | XV504 | Reserve | Reserve |  |  |  | NA |  |  |  |  | NA
| 1006-EMT_V_Inlet_Buff | Base Version | 160…169 | BLCIPInV01 | Buffer line CIP inlet valve 1 | XV160 | BufferLine_CIP_Inlet_V01 | Vanne d'alimentation CIP ligne tampon | EqBShOfV01 | Equipment buffer line shutoff valve 1 | XV161 | Eqt_BufferLine_ShOf_V01 | Vanne d'isolement ligne tampon cuve | EqBLInlV01 | Equipment buffer line inlet valve 1 | XV162 | Eqt_BufferLine_Inlet_V01 | Vanne injection ligne tampon cuve | EqBDrnV01 | Equipment buffer line drain valve 1 | XV163 | Eqt_BufferLine_Drain_V01 | Vanne de drain injection ligne tampon cuve | BLDrnV01 | Buffer line drain valve 1 | XV164 | BufferLine_Drain_V01 | Vanne de drain ligne tampon | EqBInlCV01 | Equipment buffer line inlet control valve 1 | CV165 | Eqt_BuffLine_Inlet_CV01 |  | BLfeedV01 | Buffer line feeding valve 1 | XV166 | BufferLine_Feed_V01 | Vanne d'alimentation ligne tampon | [50 empty] | EqBDrnV03 | Equipment buffer line drain valve 3 | XV168 | Eqt_BufferLine_Drain_V03 |  | EqBDrnV02 | Equipment buffer line drain valve 2 | XV169 | Eqt_BufferLine_Drain_V02 | Vanne de drain ligne tampon cuve | [55 empty] | PV_EqBuffLinFT01 | Equipment buffer line flowrate 1 | FT160 | NA | Débit injection tampon cuve | PV_SIPDrnTT01 | SIP drain temperature 1 | TT161 | NA | Tempérture retour condensats ligne buffer
[154 empty] | PV_FSL01 PV_EqBuffLinFS01 | Product detection flowmeter sensor 1 | FS160 | NA
[154 empty] | PV_EqBuffLinFQ01 | Quantity meter flowmeter 1 | FQ160 | NA
|  | Release 1 | 800…809 | [35 empty] | Reserve | Reserve | 800 | Reserve |  | Reserve | Reserve | 801 | Reserve | Reserve | Reserve | Reserve | 802 | Reserve | Reserve | EqBLInlV02 | Equipment Buffer line inlet valve 2 | XV803 | Eqt_BufferLine_Inlet_V02 |  | Reserve | Reserve | 804 | Reserve | Reserve | BLBlockV01 | Buffer line block valve 1 | XV805 | Bufferline_Block_V01 |  | BLSOfDnV01 | Buffer line shutoff drain valve 1 | XV806 | BufferLine_ShOf_Drn_V01 |  | Reserve | Reserve | 807 | Reserve | Reserve | EqCVBPV01 | Equipment buffer line CV bypass valve 1 | XV808 | Eqt_BuffLine_CV_ByP_V01 |  | BLDrnHV03 | Buffer line drain manuel Valve 3 | HV809 | [70 empty] | NA |  |  |  |  | NA
| 1007-EMT_V_Outlet | Base Version | 170…184 | VBotmV01 | Vessel bottom valve 1 | XV170 | Vessel_Bottom_V01 | Vanne fond de cuve | VLShOfV01 | Vessel outlet line shutoff valve 1 | XV171 | Vessel_OutLn_ShutOff_V01 |  | TLFeedV01 | Transfer line feeding valve 1 | XV172 | TransferLine_feed_V01 |  | CIPSIPRV01 | Vessel CIP or SIP return shutoff valve 1 | XV173 | CIPR_SIPR_ShutOff_V01 |  | VLDrnV01 | Vessel outlet line drain valve 1 | XV174 | Vessel_OutLn_Drain_V01 |  | VLInltV01 | Vessel outlet line CIP/Wfi/Buffer inlet valve 1 | XV175 | Vessel_OutLn_Inlt_V01 |  | VLBleedV01 | Vessel outlet line bleed valve 1 | XV176 | Vessel_OutLn_Bleed_V01 | Vanne de drain tampon ligne fond de cuve | TLFeedV02 | Transfer line feeding valve 2 | XV177 | TransferLine_Feed_V02 |  | VLInltV02 | Vessel outlet line CIP/Wfi/Buffer inlet valve 2 | XV178 | Vessel_OutLn_Inlt_V02 |  | Reserve | Reserve | 179 | Reserve | Reserve | TLCIPDnV01 | Transfer line CIP drain valve 1 | XV180 | Transferline_CIP_Drn_V01 |  | VLBleedV02 | Vessel outlet line bleed valve 2 | XV181 | Vessel_OutLn_Bleed_V02 |  | BLShOfV01 | Buffer 1 inlet line shutoff valve 1 | XV182 | Buffer_InLn_ShutOff_V01 |  | BLShOfV02 | Buffer 2 inlet line shutoff valve 2 | XV183 | Buffer_InLn_ShutOff_V02 |  | VLBlkV01 | Vessel outlet line block valve 1 | XV184 | Vessel_OutLn_Block_V01 | Vanne bloc ligne fond de cuve | [75 empty] | PV_OutLnFS01 | Equipment outlet line flow switch 1 | FS170 | NA | Détection solution ligne fond de cuve |  |  |  | NA |  | NA/CIPZS01 | CIP bridging line position sensor 1 | ZS172 | CIP_Brigde_line_ZS01 | Détection pontage NEP ligne
|  | Release 1 | 585…594 | [75 empty] | Reserve | Reserve | 585 | Reserve | Reserve | TLFdSOFV01 | Transfer line feeding shutOff valve 1 | XV586 | TransfLine_Feed_ShOf_V01 |  | TLFeedV03 | Transfer line feeding valve 3 | XV587 | TransferLine_Feed_V03 |  | TLBleedV01 | Transfer line feeding bleed valve 1 | XV588 | TransferLine_Bleed_V01 |  | TLBleedV02 | Transfer line feeding bleed valve 2 | XV589 | TransferLine_Bleed_V02 |  | TLFdSOFV02 | Transfer line feeding shutoff valve 2 | XV590 | TransfLine_Feed_ShOf_V02 |  | Reserve | Reserve | XV591 | Reserve | Reserve | Reserve | Reserve | XV592 | Reserve | Reserve | Reserve | Reserve | 593 | Reserve | Reserve | Reserve | Reserve | 594 | Reserve | Reserve | [28 empty] | NA |  |  |  |  | NA
| 1009-EMT_Transfer_Pump | Base Version | 185…189 | TransfP01 | Transfer pump 1 | XM185 | Transfer_P01 | Pompe de transfert | PCIPByPV01 | Pump CIP bypass valve 1 | XV186 | Pump_CIP_ByPass_V01 |  | PCIPByPV02 | Pump CIP by pass valve 2 | XV187 | Pump_CIP_ByPass_V02 |  | PumpInV02 | Pump inlet valve 2 | XV188 | Pump_In_V02 |  | PInSOfV01 | Pump inlet shutOff valve 1 | XV189 | Pump_Inlet_ShutOff_V01 | [126 empty] | PV_InFS01 | Pump inlet flow switch 1 | FS185 | NA | Détection liquide pompe transfert | PV_OutPT01 | Pump outlet Pressure 1 | PT186 | NA |  | PV_OutTT01 | Pump outlet temperature 1 | TT187 | NA |  | PV_OutFT01 | Pump outlet flowrate 1 | FT188 | NA
| 1009-EMT_Transfer_Pump |  |  |  | Frequency converter transfer pump | SY185
| 1009-EMT_Transfer_Pump | [167 empty] | PV_OutFS01 | Product detection Pump outlet flowmeter sensor 1 | FS188
| 1009-EMT_Transfer_Pump | [167 empty] | PV_OutFQ01 | Quantity counter Pump outlet flowmeter 1 | FQ188
New actuator | 1009-EMT_Transfer_Pump | Release 1 | 665…669 | [25 empty] | PumpInV01 | Pump inlet valve 1 | XV665 | Pump_In_V01 |  | TrfPmpVF01 | Transfer pump forced ventilation 1 | XM666 | Transfer_Pump_VF01 |  | Reserve | Reserve | 667 | Reserve | Reserve | Reserve | Reserve | 668 | Reserve | Reserve | Reserve | Reserve | 669 | Reserve | Reserve | [103 empty] | NA |  |  |  |  | NA
Fdesc OK | 1010-EMT_TCU_Exp_Vessel |  | 355…364 | ExpAirCV01 | Expansion vessel air control valve 1 | CV355 | ExpVessel_Air_CV01 | Détendeur d'air vase d'expension | ExpAirHV01 | Expansion vessel Air manual valve 1 | HV356 |  |  | ExpOutHV01 | Expansion vessel outlet manual valve 1 | HV357 |  | Vanne caloporteur sortie vase d'expension | ExpInlHV01 | Expansion vessel inlet manual valve 1 | HV358 |  | Vanne caloporteur remplissage vase d'expension | [130 empty] | PV_ExpVessPT01 | Expansion vessel air control valve pressure 1 | PT355 | NA | Pression sortie détendeur air vase d'expension | PV_ExpVessLT01 | Expansion vessel Level 1 | LT356 | NA | Niveau vase d'expension | PV_ExpVessLSLL01 | Expansion vessel low low level switch 1 | LS357 | NA | Détection niveau très bas vase d'expension
| 1011-EMT_CIPRet_SIPDrn |  | 190…194 | OutDrnV01 | Outlet drain valve 1 | XV190 | Outlet_Drain_V01 |  | CondV01 | Condensate drain valve 1 | XV191 | Condensate_drain_V01 | Vanne retour condensats SIP | CIPRV01 | CIP return valve 1 | XV192 | CIPR_V01 | Vanne retour CIP | CondByPV01 | Condensate Bypass valve 1 | XV193 | Condensate_ByPass_V01 | Vanne bypass retour condensats SIP | Reserve | Reserve | 194 | Reserve | Reserve | [15 empty] | FPAirInV01 | Filter press air inlet valve 1 | XV206 | FP_Air_Inlet_V01 | [106 empty] | PV_SIPDrnTT01 | SIP drain temperature 1 | TT190 | NA | Température retour condensats SIP |  |  |  | NA |  |  |  |  | NA
| 1015-EMT_FP_CCA |  | 200…209 | Reserve | Reserve | 200 | Reserve | Reserve | AirInltV01 | Filter air inlet shutOff valve 1 | XV201 | Filter_Air_Inlet_V01 | Vanne d'isolement arrivée air filtre presse | FPVentV01 | FP filter ventilation valve 1 technical area | XV202 | FP_Ventil_V01 | Vanne d'évent filtre FP zone technique | CooShOfV01 | Cooling shutOff valve 1 | XV203 | Cooling_shutOff_V01 | Vanne d'isolement circuit refroidissement air échangeur FP | AirInCV01 | Filter air inlet pressure control valve 1 | CV204 | Air_Inlet_CV01 | Détendeur arrivée air filtre presse | CoolCV01 | Cooling temperature control valve 1 | CV205 | Cooling_Inlet_CV01 | Vanne régulante circuit refroidissement échangeur | FPAirInV01 | Filter press air inlet valve 1 | XV206 | FP_Air_Inlet_V01 | Vanne d'isolement sortie filtre évent filtre presse | Reserve | Reserve | 207 | Reserve | Reserve | ACSampHV01 | Filter press air filter outlet sampling manual valve 1 | HV208 | FP_Air_Filter_Samp_HV01 | Vanne de purge circuit refroidissement air échangeur FP | Reserve | Reserve | 209 | Reserve | Reserve | [100 empty] | PV_AirTT01 | FP air cooling temperature 1 | TT200 | NA | Température air sortie échangeur filtre presse |  |  |  | NA |  |  |  |  | NA | [6 empty] | PV_AirCVPT01 | Air control valve pressure 1 | PT204 | NA | Pression air détendeur filtre presse
| 1016-EMT_FP_Inlet |  | 210…219 | FPInSOfV01 | Filtre press inlet line shutOff valve 1 | XV210 | FP_Inlet_shutOff_V01 | Vanne d'isolement ligne produit entrée FP | FPInTopV01 | Filtre press inlet top valve 1 | XV211 | FP_Inlet_Top_V01 | Vanne entrée haute filtre presse | FPInBotV01 | Filtre press inlet bottom valve 1 | XV212 | FP_Inlet_Bottom_V01 | Vanne entrée basse filtre presse | FPInSwiV01 | Filtre press inlet switch valve 1 | XV213 | FP_Inlet_Switch_V01 | Vanne d'aiguillage entrée basse / haute | FPAirFdV01 | Filter press air feed valve 1 | XV214 | FP_Air_Feed_V01 | Vanne d'isolement air entrée filtre presse | FPAirDnV01 | Filter press air drain valve 1 | XV215 | FP_Air_Drain_V01 | Vanne drain air entrée filtre presse | Reserve | Reserve | 216 | Reserve | Reserve | Reserve | Reserve | 217 | Reserve | Reserve | Reserve | Reserve | 218 | Reserve | Reserve | Reserve | Reserve | 219 | Reserve | Reserve | [100 empty] | PV_InFT01 | Filter press inlet line flowrate 1 | FT210 | NA | Débit entrée filtre presse | PV_InTT01 | Filter press inlet line temperature 1 | TT211 | NA | Température entrée filtre presse | PV_InPT01 | Filter Press inlet line pressure 1 | PT212 | NA | Pression entrée basse filtre presse | PV_InFS01 | Filter press inlet line flow switch 1 | FS213 | NA | Détection solution entrée filtre presse | PV_inPS01 | Filter press inlet line pressure switch 1 | PS214 | NA | Détection pression entrée filtre presse
[154 empty] | PV_InFS01 | Product detection flowmeter sensor 1 | FS210 | NA | Détection solution débitmètre entrée filtre presse
[154 empty] | PV_InFQ01 | Quantity meter flowmeter 1 | FQ210 | NA | Quantité solution débitmètre entrée filtre presse
| 1017-EMT_FP_Outlet |  | 220…229 | FPOuTopV01 | Filter press outlet top valve 1 | XV220 | FP_Outlet_Top_V01 | Vanne sortie haute filtre presse | FPOuSOfV01 | Filter press outlet line shutOff valve 1 | XV221 | FP_OutletLine_ShutOf_V01 | Vanne d'isolement ligne solution sortie FP | FPOuBotV01 | Filter press outlet bottom valve 1 | XV222 | FP_Outlet_Bottom_V01 | Vanne sortie basse filtre presse | FPOuByPV01 | Filter press outlet ByPass valve 1 | XV223 | FP_Outlet_ByPass_V01 | Vanne d'aiguillage sortie basse / haute | FPOuDrnV01 | Filter press outlet drain valve 1 | XV224 | FP_Outlet_Drain_V01 | Vanne de drain sortie basse filtre presse | Reserve | Reserve | 225 | Reserve | Reserve | Reserve | Reserve | 226 | Reserve | Reserve | Reserve | Reserve | 227 | Reserve | Reserve | Reserve | Reserve | 228 | Reserve | Reserve | Reserve | Reserve | 229 | Reserve | Reserve | [100 empty] | PV_OutPT01 | Filter press outlet line pressure 1 | PT220 | NA | Pression sortie haute filtre presse | PV_OutCT01 | Filter press outlet line conductivity 1 | CT221 | NA | Conductivité sortie hautre filtre presse | PV_OutDrnFS01 | Filter Press outlet drain line flow switch 1 | FS222 | NA | Détection solution drain sortie basse filtre presse | PV_OutAT01 | Filter press outlet line turbidity 1 | AT223 | NA | Turbidité ligne solution sortie filtre presse | PV_OutFS01 | Filter press outlet line flow switch 1 | FS224 | NA | Détection solution sortie haute filtre presse | PV_OutTT01 | Filter press outlet line temperature 1 | TT225 | NA | Température solution sortie haute filtre presse | PV_OutPS01 | Filter press outlet pressure switch 1 | PS226 | NA | Détection pression sortie haute filtre presse
| 1018-EMT_FP_CIP_Drain |  | 230…234 | FPTopDnV01 | Filter press CIP top drain valve 1 | XV230 | FP_CIP_Top_Drain_V01 | Vanne de drain CIP haute FP | FPBotDnV01 | Filter press CIP bottom drain valve 1 | XV231 | FP_CIP_Bottom_Drain_V01 |  | Reserve | Reserve | 232 | Reserve | Reserve | Reserve | Reserve | 233 | Reserve | Reserve | Reserve | Reserve | 234 | Reserve | Reserve | [125 empty] | PV_TopDrnFS01 | Filter press top drain line flow switch 1 | FS230 | NA |  | PV_BotDrnFS01 | Filter press bottom drain line flow switch 1 | FS231 | NA |  |  |  |  | NA
| 1021-EMT_Chroma_Skid |  | N/A | [153 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
| 1022-EMT_Chroma_P1 |  | 260…269 | BLnShOfV01 | Buffer line shutOff valve 1 | XV260 | BufferLine_shutOff_V01 | Vanne d'isolement ligne tampon | BLinInlV01 | Buffer line inlet valve 1 | XV261 | BufferLine_Inlet_V01 |  | PLinInlV01 | Product line inlet valve 1 | XV262 | ProductLine_Inlet_V01 |  | Reserve | Reserve | 263 | Reserve | Reserve | PLinDrnV01 | Product line drain Valve 1 | XV264 | ProductLine_Drain_V01 |  | CIPByPV01 | IEC CIP bypass valve 1 | XV265 | IEC_CIP_ByPass_V01 |  | PLnShOfV01 | Product line shutOff valve 1 | XV266 | ProductLine_shutOff_V01 |  | Reserve | Reserve | 267 | Reserve | Reserve | Reserve | Reserve | 268 | Reserve | Reserve | Reserve | Reserve | 269 | Reserve | Reserve | [100 empty] | PV_P1InFS01 | Pump 1 inlet line flow switch | FS260 | NA |  |  |  |  | NA |  |  |  |  | NA
| 1023-EMT_Chroma_P2 |  | 270…279 | BLnShOfV01 | Buffer line shutOff valve 1 | XV270 | BufferLine_shutOff_V01 | Vanne d'isolement ligne tampon | BLinInlV01 | Buffer line inlet valve 1 | XV271 | BufferLine_Inlet_V01 |  | BLinInlV02 | Buffer line inlet valve 2 | XV272 | BufferLine_Inlet_V02 |  | BLnShOfV02 | Buffer line shutOff valve 2 | XV273 | BufferLine_shutOff_V02 |  | BLinDrnV01 | Buffer line drain valve 1 | XV274 | BufferLine_Drain_V01 |  | CIPShOfV01 | CIP Return shutOff valve 1 | XV275 | CIPR_shutOff_V01 |  | BLinInHV03 | Buffer line inlet valve 3 | HV276 | BufferLine_Inlet_HV03 |  | Reserve | Reserve | 277 | Reserve | Reserve | Reserve | Reserve | 278 | Reserve | Reserve | Reserve | Reserve | 279 | Reserve | Reserve | [100 empty] | PV_P2InFS01 | Pump 2 inlet line flow switch | FS270 | NA |  | NA/ | Inlet P2 RFID position reader 1 | ZS271 | NA | Détection pontage CIP chroma P2 | NA/ | Inlet P2 RFID position reader 2 | ZS272 | NA | Détection bouchon HETP entrée chroma P2
| 1024-EMT_Chroma_Outlet |  | 280…284 | CIPByPV01 | Chroma CIP bypass Valve 1 | XV280 | Chroma_CIP_ByPass_V01 | Vanne bypass CIP skid Chroma | PLnShOfV01 | Outlet Product line shutOff valve 1 | XV281 | ProductLine_shutOff_V01 |  | TLnDrnV01 | Outlet transfer line drain Valve 1 | XV282 | Out_TransfLine_Drain_V01 |  | TLnFeedV01 | Outlet transfer line feeding Valve 1 | XV283 | Out_TransfLine_Feed_V01 |  | PLnV01 | Outlet Product line valve 1 | XV284 | ProductLine_V01 | [126 empty] | OutTLnZS01 | Outlet transferline position reader 1 | ZS280 | NA | Détection de position ligne de transfert |  |  |  | NA |  |  |  |  | NA
| 1025-EMT_Chroma_Outlet_Waste |  | 285…289 | OutDrV01 | Outlet draining Valve 1 | XV285 | Chroma_Outlet_Drain_V01 |  | OutDrV02 | Skid Chroma outlet to waste EtOH valve 2 | XV286 | Chroma_Outlet_Drain_V02 |  | Reserve | Reserve | 287 | Reserve | Reserve | Reserve | Reserve | 288 | Reserve | Reserve | Reserve | Reserve | 289 | Reserve | Reserve | [128 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
| 1027-EMT_Chroma_Distrib_Column |  | 365…374 | Reserve | Reserve | 365 | Reserve | Reserve | Reserve | Reserve | 366 | Reserve | Reserve | Reserve | Reserve | 367 | Reserve | Reserve | Reserve | Reserve | 368 | Reserve | Reserve | Reserve | Reserve | 369 | Reserve | Reserve | Reserve | Reserve | 370 | Reserve | Reserve | Reserve | Reserve | 371 | Reserve | Reserve | Reserve | Reserve | 372 | Reserve | Reserve | Reserve | Reserve | 373 | Reserve | Reserve | Reserve | Reserve | 374 | Reserve | Reserve | [100 empty] | NA/ | Process to column2 position switch 1 | ZS365 | NA | Détection pontage skid process / entrée colonne 2 | NA/ | Buffer to column2 position switch 1 | ZS366 | NA | Détection pontage skid package / entrée colonne 2 | NA/ | Process to column1 position switch 1 | ZS367 | NA | Détection pontage skid process / entrée colonne 1 | NA/ | Buffer to column1 position switch 1 | ZS368 | NA | Détection pontage skid package / entrée colonne 1 | NA/ | Column2 to process position switch 1 | ZS369 |  | Détection pontage sortie colonne 2 / skid process | NA/ | Column2 to buffer position switch 1 | ZS370 |  | Détection pontage sortie colonne 2 / skid package | NA | Column1 to process position switch 1 | ZS371 |  | Détection pontage sortie colonne 1 / skid process | NA | Column1 to buffer position switch 1 | ZS372 | NA | Détection pontage sortie colonne 1 / skid package
| 1034-EMT_Distrib | Base Version | 350…354 | DistribV01 | Distribution valve 1 | XV350 | DistribV01 |  | DistribV02 | Distribution valve 2 | XV351 | DistribV02 |  | DistribV03 | Distribution Valve 3 | XV352 | DistribV03 |  | DistribV04 | Distribution Valve 4 | XV353 | DistribV04 |  | DrainV01 | Drainning valve 1 | XV354 | Drainning_V01 | [126 empty] | PV_CIPRPT01 | CIP station return pressure 1 | PT350 | NA |  |  |  |  | NA |  |  |  |  | NA
|  | Release 1 | 575….579 | [25 empty] | DrainV02 | Drainning valve 2 | XV575 | Drainning_V02 |  | DisShOfV01 | Distribution shutOff valve 1 | XV576 | Distrib_shutOff _V01 |  | DisShOfV02 | Distribution shutOff valve 2 | XV577 | Distrib_shutOff _V02 |  | Reserve | Reserve | 578 | Reserve | Reserve | Reserve | Reserve | 579 | Reserve | Reserve | [103 empty] | NA | [9 empty] | NA
| 1038-EMT_Storage_Mobil_Tank |  | 812 - 813 | Reserve | Reserve | 812 | Reserve | Reserve | Reserve | Reserve | 813 | Reserve | Reserve | [140 empty] | PV_MobilTankWT01 | Mobile tank Weight 1 | WT812 | NA |  |  |  |  | NA |  |  |  |  | NA
| 1043-EMT_Load_Cell |  | 490...494 | Reserve | Reserve | 490 | Reserve | Reserve | Reserve | Reserve | 491 | Reserve | Reserve | Reserve | Reserve | 492 | Reserve | Reserve | Reserve | Reserve | 493 | Reserve | Reserve | Reserve | Reserve | 494 | Reserve | Reserve | [128 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
New | 1044-EM-Meas_OFFLN |  | 912….915 | Reserve | Reserve | 816 | Reserve | Reserve | Reserve | Reserve | 817 | Reserve | [141 empty] | PV_OfflinepH01 | Offline pH value 1 | pH816 | NA |  |  |  |  | NA |  |  |  |  | NA
| 1050-EMT_SkidNano_Inlet | Base Version | 375…379 | NFDSOfV01 | Skid Nano filter Inlet distribution shutOff valve 1 | XV375 | NF_Distrib_shutOff_V01 |  | NFDistV01 | Skid Nano filter Inlet distribution valve 1 | XV376 | NF_Inlet_Distrib_V01 |  | NFDistV02 | Skid Nano filter Inlet distribution valve 2 | XV377 | NF_Inlet_Distrib_V02 |  | NFInByPV01 | Skid Nano filter inlet bypass Valve 1 | XV378 | NF_Inlet_ByPass_V01 |  | NFInFdV01 | Skid Nano filter inlet Feed Valve 1 | XV379 | NF_Inlet_Feed_V01 | [126 empty] | PV_InTT01 | Skid Nano Inlet temperature 1 | TT375 | NA |  | PV_InPT01 | Skid Nano Inlet pressure 1 | PT376 | NA |  |  |  |  | NA
|  | Release 1 | 510...514 | [25 empty] | NFInDrV01 | Skid Nano filter inlet Drain Valve 1 | XV510 | NF_Inlet_Drain_V01 |  | NFRetSOV01 | Skid Nano filter Retentate shutOff valve 1 | XV511 | NF_Retentate_shutOff_V01 |  | Reserve | Reserve | 512 | Reserve | Reserve | Reserve | Reserve | 513 | Reserve | Reserve | Reserve | Reserve | 513 | Reserve | Reserve | [103 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
| 1051-EMT_SkidNano_Outlet |  | 380…384 | NFDistV01 | Skid Nano filter outlet distribution valve 1 | XV380 | NF_Outlet_Distrib_V01 |  | NFDistV02 | Skid Nano filter outlet distribution valve 2 | XV381 | NF_Outlet_Distrib_V02 |  | NFOutV01 | Skid Nano filter outlet process valve 1 | XV382 | NF_Outlet_Process_V01 |  | NFOutDnV01 | Skid Nano filter outlet drain valve 1 | XV383 | NF_Outlet_Drain_V01 |  | Reserve | Reserve | 384 | Reserve | Reserve | [128 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
| 1052-EMT_Nano_Filter |  | 320….329 | NFInSOfV01 | NanoFilter inlet shutOff valve 1 | XV320 | NF_inlet_ShOF_V01 | Vanne d'isolement entrée | NFPermV01 | NanoFilter permeate outlet valve 1 | XV321 | NF_Perm_Outlet_V01 |  | Reserve | Reserve | 322 | Reserve | Reserve | NFReteV01 | NanoFilter retentate outlet valve 1 | XV323 | NF_Rete_Outlet_V01 |  | NFPurgV01 | NanoFilter retentate outlet purge valve 1 | XV324 | NF_Rete_Outlet_purge_V01 |  | NFPeSOfV01 | NanoFilter permeate outlet shutOff valve 1 | XV325 | NF_Perm_Outlet_ShOF_V01 |  | NFPermCV01 | NanoFilter permeate outlet control valve 1 | CV326 | NF_Perm_Outlet_CV01 |  | Reserve | Reserve | 327 | Reserve | Reserve | Reserve | Reserve | 328 | Reserve | Reserve | Reserve | Reserve | 329 | Reserve | Reserve | [100 empty] | PV_NFPDT01 | Nano filter delta pressure 1 | PDT320 | NA |  |  |  |  | NA |  | PV_InFT01 | Nano filter Inlet flowrate 1 | FT322 | NA |  | PV_PurLS01 | Nano filter purge Level switch 1 | LS323 | NA | Détection absence liquide nanofiltre | NA | CIP Bridging Nano filter Position Switch 1 | ZS324 |  | Détection pontage CIP nanofiltre
[164 empty] | PV_InFS01 | Product detection flowmeter sensor 1 | FS322
[164 empty] | PV_InFQ01 | Quantity meter flowmeter 1 | FQ322
| 1053-EMT_SkidNano_Retentate |  | 330…339 | NFReSOfV01 | Skid Nano filter retentate shutOff valve 1 | XV330 | NF_Retentate_ShutOff_V01 |  | NFACFdV01 | Skid Nano retentate air feeding valve 1 | XV331 | NF_Air_feed_V01 |  | NFRetDnV01 | Skid Nano filter retentate drain valve 1 | XV332 | NF_Retentate_Drain_V01 |  | NFReMgeV01 | Skid Nano filter retentate merge valve 1 | XV333 | NF_Retentate_Merge_V01 |  | NFReMgeV02 | Skid Nano filter retentate merge valve 2 | XV334 | NF_Retentate_Merge_V02 |  | NFRetDnV02 | Skid Nano filter retentate drain valve 2 | XV335 | NF_Retentate_Drain_V02 |  | NFReSOfV02 | Skid Nano retentate shutOff valve 2 | XV336 | NF_Retentate_ShutOff_V02 |  | Reserve | Reserve | 337 | Reserve | Reserve | Reserve | Reserve | 338 | Reserve | Reserve | Reserve | Reserve | 339 | Reserve | Reserve | [103 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
| 1054-EMT_SkidNano_CCA |  | 410…419 | AirInCV01 | Skid nano air inlet control valve 1 | CV410 | NF_Air_Inlet_CV01 |  | AirFeedV01 | Skid Nano air feed valve 01 | XV411 | NF_Air_Feed_V01 |  | AirFeedV02 | Skid Nano air feed valve 02 | XV412 | NF_Air_Feed_V02 |  | AirInSOV01 | Skid nano air inlet shutOff valve 1 | XV413 | NF_Air_Inlet_ShutOff_V01 |  | Reserve | Reserve | 414 | Reserve | Reserve | ACSampHV01 | Skid nano air filter outlet sampling manual valve 1 | HV415 | NF_Air_Filter_Samp_HV01 |  | Reserve | Reserve | 416 | Reserve | Reserve | Reserve | Reserve | 417 | Reserve | Reserve | Reserve | Reserve | 418 | Reserve | Reserve | Reserve | Reserve | 419 | Reserve | Reserve | [100 empty] | PV_AirCVPT01 | Skid Nano air control valve pressure 1 | PT410 | NA |  | PV_AirOutPT01 | Skid Nano air filter outlet pressure 1 | PT411 | NA |  | NFAirInPI01 | Skid Nano air inlet safety pressure 1 | PI412 | NA
| 1060_EMT_UFDF_Drain |  | 290…294 | UFDrainV01 | UFDF Drain Valve 01 | XV290 | UF_Drain_V01 | [149 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
| 1061_EMT_UFDF_Retentate |  | 295…304 | VLinInlV01 | Vessel line inlet valve 1 | XV295 | Vessel_Line_Inlet_V01 |  | VInlDrnV01 | Vessel inlet drain valve 1 | XV296 | Vessel_Inlet_Drain_V01 |  | VLInSOfV01 | Vessel Line inlet shutOff valve 1 | XV297 | VesselLin_Inlet_ShOf_V01 |  | UFRetFdV01 | UF Rententate feed valve 1 | XV298 | UF_Retentate_Feed_V01 |  | BuffFdV01 | Buffer feed valve 1 | XV299 | Buffer_Feed_V01 |  | UFPerFdV01 | UF Permeate feed valve 1 | XV300 | UF_Permeate_Feed_V01 |  | UFReFdCV01 | UF Retentate feed control valve 1 | CV301 | UF_Retentate_Feed_CV01 |  | Reserve | Reserve | 302 | Reserve | Reserve | Reserve | Reserve | 303 | Reserve | Reserve | Reserve | Reserve | 304 | Reserve | Reserve | [100 empty] | PV_UFRetPT01 | UF Retentate pressure 1 | PT295 | NA |  | PV_UFRetTT01 | UF Retentate temperature 1 | TT296 | NA |  | PV_UFRetCT01 | UF Retentate Conductivity 1 | CT297 | NA
| 1062_EMT_UFDF_Permeate |  | 305…314 | Reserve | Reserve | 305 | Reserve | Reserve | CIPFdInV01 | CIP feeding line inlet valve 1 | XV306 | CIP_Feed_Intlet_V01 |  | UFPerFdV01 | UF permeate line feeding valve 1 | XV307 | UF_PermeateLine_Feed_V01 |  | UFPerCV01 | UF Permeate control valve 1 | CV308 | UF_Permeate_CV01 |  | VRecFdV01 | Buffer/ CIP vessel recirculation line feed valve 1 | XV309 | Vessel_Recirc_Feed_V01 |  | VRecDrnV01 | Buffer/ CIP vessel recirculation line drain valve 1 | XV310 | Vessel_Recirc_Drain_V01 |  | VRecSOfV01 | Buffer/ CIP vessel recirculation line inlet shutOff valve 1 | XV311 | Vessel_Recirc_ShOff_V01 |  | Reserve | Reserve | 311 | Reserve | Reserve | VRecInlV01 | Buffer/ CIP vessel recirculation line inlet valve 1 | XV313 | Vessel_Recirc_Inlet_V01 |  | Reserve | Reserve | 314 | Reserve | Reserve | [100 empty] | PV_UFPermPT01 | UF permeate pressure 1 | PT305 | NA |  | PV_UFPermFT01 | UF permeate flowrate 1 | FT306 | NA |  | PV_UFPermCT01 | UF permeate Conductivity 1 | CT307 | NA |  | PV_UFPermUV01 | UF permeate UV measurement 1 | UV308 |  |  | PV_UFPermTT01 | UF permeate Temperature 1 | TT309
| 1062_EMT_UFDF_Permeate | [157 empty] | PV_UFPermFS01 | Product detection UF permeate flowmeter sensor 1 | FS306 | NA
| 1062_EMT_UFDF_Permeate | [157 empty] | PV_UFPermFQ01 | Quantity counter UF permeate flowmeter 1 | FQ306 | NA
| 1063_EMT_UFDF_Buff_CV |  | 315…319 | UFBufCV01 | UF Buffer line control valve 1 | CV315 | UF_BufferLine_CV01 |  | UFDrainV01 | UF Buffer line drain valve 01 | XV316 | UF_Buffer_Line_Drain_V01 |  | UFBufSOV01 | UF buffer Line shutOff valve 1 | XV317 | UF_Buffer_Line_ShOf_V01 |  | UFBufFdV01 | UF buffer line feed valve 1 | XV318 | UF_Buffer_Line_Feed_V01 |  | UFBufFdV02 | UF buffer line feed valve 02 | XV319 | UF_Buffer_Line_Feed_V02 | [126 empty] | PV_UFBufLinPT01 | UF buffer line pressure 1 | PT315 | NA |  |  |  |  | NA |  |  |  |  | NA |  | -
| 1064_EMT_UFDF_Distrib |  | 340…349 | UF1DisV01 | UFDF1 distribution valve 1 | XV340 | UFDF1_Distrib_V01 |  | UF2DisV01 | UFDF2 distribution valve 1 | XV341 | UFDF2_Distrib_V01 |  | UF1ShOfV01 | UFDF1 shutOff valve 01 | XV342 | UFDF1_shutOff_V01 |  | UF2ShOfV01 | UFDF2 shutOff valve 1 | XV343 | UFDF2_shutOff_V01 |  | UF1DrnV01 | UFDF1 drain valve 1 | XV344 | UFDF1_Drain_V01 |  | UF2DrnV01 | UFDF2 drain valve 1 | XV345 | UFDF2_Drain_V01 |  | Reserve | Reserve | 346 | Reserve | Reserve | Reserve | Reserve | 347 | Reserve | Reserve | Reserve | Reserve | 348 | Reserve | Reserve | Reserve | Reserve | 349 | Reserve | Reserve | [103 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
New actuator | 1070-EMT_Separator |  | 235…244 | SEInDrnV01 | Separator inlet line drain valve 1 | XV235 | SE_Inlet_Line_Drain_V01 |  | SEWFIDnV01 | Separator WFI line drain valve 1 | XV236 | SE_WFI_Line_Drain_V01 |  | Reserve | Reserve | 237 | Reserve | Reserve | Reserve | Reserve | 238 | Reserve | Reserve | Reserve | Reserve | 239 | Reserve | Reserve | Reserve | Reserve | 240 | Reserve | Reserve | Reserve | Reserve | 241 | Reserve | Reserve | Reserve | Reserve | 242 | Reserve | Reserve | Reserve | Reserve | 243 | Reserve | Reserve | Reserve | Reserve | 244 | Reserve | Reserve | [100 empty] | PV_OutLinFT01 | Separator outlet line flowrate 1 | FT235 | NA |  |  |  |  | NA |  |  |  |  | NA
[154 empty] | PV_OutLinFS01 | Product detection flowmeter sensor 1 | FS235 | NA
[154 empty] | PV_OutLinFQ01 | Quantity meter flowmeter 1 | FQ235 | NA
END OF CORP
| 1080-EMT_InLineFilter |  | 245…259 | FiPrSOfV01 | Filter product line shutoff valve 1 | XV245 | Filter_ProdLine_ShOf_V01 |  | FiTopDnV01 | Filter product top drain valve 1 | XV246 | Filter_Prod_TopDrain_V01 |  | FiPrFdV01 | Filter product line feed valve 1 | XV247 | Filter_ProdLine_Feed_V01 |  | FiPrSOfV02 | Filter product line shutoff valve 2 | XV248 | Filter_ProdLine_ShOf_V02 |  | FPrOuDnV01 | Filter product line outlet drain valve 1 | XV249 | Filt_ProdLine_OutDrn_V01 |  | FPrInDnV01 | Filter product line inlet drain valve 1 | XV250 | Filt_ProdLine_InlDrn_V01 |  | FiPrOutV01 | Filter product line outlet valve 1 | XV251 | FilterI_ProdLine_Out_V01 |  | Reserve | Reserve | 252 | Reserve | Reserve | FPrOuSOV01 | Filter product line outlet shutoff valve 1 | XV253 | Filt_ProdLin_Out_SOf_V01 |  | FInDnSOV01 | Filter product line inlet drain shutoff valve 1 | XV254 | Filt_ProdLin_Drn_SOf_V01 |  | Reserve | Reserve | 255 | Reserve | Reserve | FPrOuDnV02 | Filter product line outlet drain valve 2 | XV256 | Filt_ProdLine_OutDrn_V02 |  | FiCIPInV01 | Filter product line CIP inlet valve 1 | XV257 | Filt_ProdLine_CIPInlt_V01 |  | Reserve | Reserve | 258 | Reserve | Reserve | Reserve | Reserve | 259 | Reserve | Reserve | [75 empty] | PV_FiPrInPT01 | Filter product inlet pressure 1 | PT245 | NA |  | PV_FiPrOutPT01 | Filter product outlet pressure 1 | PT246 | NA |  | PV_FiPrInFS01 | Filter product inlet flow switch 1 | FS247 | NA | Détection liquide entrée filtre produit | PV_FiPrTopDnFS01 | Filter product top drain flow switch 1 | FS248 |  |  | NA/FltZS01 | Filter product position sensor 1 | ZS249 | NA | Détection filtre / CIP filtre produit | NA/FltInZS02 | Filter product inlet position sensor 1 | ZS250 |  | Détection bouchon EPPI entrée filtre produit | NA/FltOutZS03 | Filter product outlet position sensor 1 | ZS251 |  |  | NA/FltInZS04 | Filter product inlet position sensor 2 | ZS252 | NA | Détection prolongateur entrée filtre produit | NA/FltTopZS05 | Filter product top position sensor 1 | ZS253 | NA | Détection bouchon / pontage haut filtre produit | PV_FiPrInFT01 | Filter product inlet flowrate 1 | FT254 | NA |  | NA/FltDoorZS07 | Filter product cabinet door position sensor 1 | ZS255 | NA |  | NA/FltOutZS06 | Filter product outlet position sensor 2 | ZS256 | NA | Détection bouchon sortie filtre produit
[199 empty] | PV_FiPrInFS01 | Product detection flowmeter sensor 1 | FS254 | NA
[199 empty] | PV_FiPrInFQ01 | Quantity meter flowmeter 1 | FQ254 | NA
New instrument | 1081-EMT_Pooling_TL |  | 865...879 | CIPFdV01 | Pooling CIP feed valve 1 | XV865 | Pooling_CIP_feed_V01 |  | AirFdV01 | Pooling air feed valve 1 | XV866 | Pooling_Air_Feed_V01 |  | AirDrnV01 | Pooling air drain valve 1 | XV867 | Pooling_Air_Drain_V01 |  | FiTopFdV01 | Pooling inline filter top feed valve 1 | XV868 | Pool_InFilt_Top_Feed_V01 |  | FiTopDnV01 | Pooling inline filter top drain valve 1 | XV869 | Pool_InFilt_Top_Drn_V01 |  | CondDrnV01 | Pooling condensate drain valve 1 | XV870 | Pool_Condensate_Drn_V01 |  | Reserve | Reserve | 871 | Reserve | Reserve | CIPInV01 | Pooling CIP inlet valve 1 | XV872 | Pool_CIP_Inlet_V01 |  | Reserve | Reserve | 873 | Reserve | Reserve | Reserve | Reserve | 874 | Reserve | Reserve | Reserve | Reserve | 875 | Reserve | Reserve | Reserve | Reserve | 876 | Reserve | Reserve | Reserve | Reserve | 877 | Reserve | Reserve | Reserve | Reserve | 878 | Reserve | Reserve | Reserve | Reserve | 879 | Reserve | Reserve | [75 empty] | NA | Pooling vessel transfer line position switch 1 | ZS865 | NA | Détection pontage arrivée CIP ligne | NA | Pooling transfer line 1 position switch 1 | ZS866 | NA |  | NA | Pooling transfer line 2 position switch 1 | ZS867 | NA |  | NA | Pooling transfer line 3 position switch 1 | ZS868 |  | Détection pontage filtre produit vers poolin tank 3
| 1083 EMT_Pooling_TL_SIPDrn |  | 705...714 | BTCndDnV01 | Pooling bubble trap condensate drain valve 1 | XV705 | Pool_BTrap_Cond_Drn_V01 |  | Reserve | Reserve | 706 | Reserve |  | BTDrainV01 | Pooling bubble trap drain valve 1 | XV707 | Pool_BTrap_Drain_V01 |  | BTCndDnV02 | Pooling bubble trap condensate drain valve 2 | XV708 | Pool_BTrap_Cond_Drn_V02 |  | BTDrainV02 | Pooling bubble trap drain valve 2 | XV709 | Pool_BTrap_Drain_V02 |  | BTOutV01 | Pooling bubble trap outlet valve 1 | XV710 | Pool_BT_Outlet_V01 |  | Reserve | Reserve | 711 | Reserve | Reserve | Reserve | Reserve | 712 | Reserve | Reserve | Reserve | Reserve | 713 | Reserve | Reserve | Reserve | Reserve | 714 | Reserve | Reserve | [100 empty] | PV_BTSIPDrnTT01 | Pooling bubble trap SIP drain temperature 1 | TT705 | NA |  | NA/ | Pooling bubble trap/CIP bridge position sensor 1 | ZS706 | NA | Détection piège / CIP piège à bulles | NA | Pooling bubble trap top position sensor 1 | ZS707 | NA+FM64 | Détection flexible SIP piège à bulles |  |  | 708 |  |  | PV_BTSIPDrnTT02 | Pooling bubble trap SIP drain temperature 2 | TT709 | NA |  | PV_BTDrnLS01 | Pooling bubble trap drain level switch 1 | LS710 |  | Détection présence liquide piège à bulle
| 1301-EMT_PoU_EtOH |  | 390…394 | BEtOHInV01 | Buffer line EtOH inlet valve 1 | XV390 | BufferLine_EtOH_Inlt_V01 |  | Reserve | Reserve | 391 | Reserve | Reserve | Reserve | Reserve | 392 | Reserve | Reserve | Reserve | Reserve | 393 | Reserve | Reserve | Reserve | Reserve | 394 | Reserve | Reserve | [128 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
| 1302-EMT_PoU_NaOH_CIP |  | 195…199 | NaOHFdV01 | PoU NaOH feed valve 01 | XV195 | NaOH_Feed_V01 | Vanne alimentation NaOH | Reserve | Reserve | 196 | Reserve | Reserve | Reserve | Reserve | 197 | Reserve | Reserve | Reserve | Reserve | 198 | Reserve | Reserve | Reserve | Reserve | 199 | Reserve | Reserve | [128 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
| 1303-EMT_PoU_STEAM | Base Version | 395…399 | SteamFdV01 | Steam feed valve 1 | XV395 | Steam_feed_V01 | Vanne alimentation vapeur | VBStmInV01 | Vessel_Balls_Stm_Inl_V01 | XV396 | Vessel balls steam Inlet valve 1 | Vanne vapeur boule cuve | VStmInV01 | Vessel steam Inlet valve 1 | XV397 | Vessel_Steam_inlet_V01 | Vanne vapeur cuve | BLStmInV01 | Buffer line steam inlet valve 1 | XV398 | Buffline_Steam_inlet_V01 | Vanne vapeur ligne de transfert tampon | BLStmSOV01 | Buffer line steam inlet shutOff valve 1 | XV399 | Buffline_Steam_ShOf_V01 | Vanne d'isolement vapeur ligne de transfert tampon | [128 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
| 1307-EMT_B_Inlet | Base Version | 440…459 | VCIPBalV01 | Vessel CIP balls shutOff valve 1 | XV440 | Vessel_CIP_Ball_ShOf_V01 |  | VCIPB1V01 | Vessel CIP ball 1 valve 1 | XV441 | Vessel_CIP_Ball1_V01 |  | VCIPB2V01 | Vessel CIP ball 2 valve 1 | XV442 | Vessel_CIP_Ball2_V01 |  | BLCIPSOV01 | Buffer Line CIP shutoff valve 1 | XV443 | BufferLine_CIP_ShOf_V01 |  | BLCIPInV01 | Buffer Line CIP inlet valve 1 | XV444 | BufferLine_CIP_Inlet_V01 |  | CIPFeedV01 | CIP feed valve 1 | XV445 | CIP_Feed_V01 |  | VDPDrnV01 | Vessel deep pipe drain valve 1 | XV446 | Vessel_DeepPipe_Drn_V01 |  | Reserve | Reserve | 447 | Reserve |  | VDPInlV01 | Vessel deep pipe inlet valve 1 | XV448 | Vessel_DeepPipe_Inlt_V01 |  | Reserve | Reserve | 449 | Reserve |  | BLHClFdV01 | Buffer line HCl feed valve 1 | XV450 | BufferLine_HCl_Feed_V01 |  | BLHaCFdV01 | Buffer line HAc feed valve 1 | XV451 | BufferLine_HAc_Feed_V01 |  | BLCapFdV01 | Buffer line Caprylate feed valve 1 | XV452 | BuffLine_Capry_Feed_V01 |  | VBLInSOV01 | Vessel buffer line inlet shutoff valve 1 | XV453 | Vess_BuffLin_Inl_SOf_V01 |  | RingDrnV01 | Ring drain valve 1 | XV454 | Ring_Drain_V01 | Vanne de drain Anneau | VBLInlV01 | Vessel buffer line inlet valve 1 | XV455 | Vess_BuffLine_Inlet_V01 | Vanne injection tampon cuve | VBLDrnV01 | Vessel buffer line drain valve 1 | XV456 | Vess_BuffLine_Drain_V01 | Vanne de drain buffer cuve | BLHClSOV01 | Buffer line HCl feed shutOff valve 1 | XV457 | BufLin_HCl_Feed_ShOf_V01 |  | BLHClDnV01 | Buffer line HCl drain valve 1 | XV458 | BufferLine_HCl_Drain_V01 |  | Reserve | Reserve | 459 | Reserve | Reserve | [50 empty] | PV_VBLInlFT01 | Vessel buffer line inlet flowrate 1 | FT440 | NA |  | NA | Vessel Inlet flexible position sensor 1 | ZS441 | NA |  | NA | Vessel CIP inlet flexible position sensor 1 | ZS442 | NA
[154 empty] | PV_VBLInlFS01 | Product detection flowmeter sensor 1 | FS440 | NA
[154 empty] | PV_VBLInlFQ01 | Quantity meter flowmeter | FQ440 | NA
|  | Release 1 | 840...844 | [100 empty] | BLHaCSOV01 | Buffer line HaC feed shutoff valve 1 | XV840 | BufLin_HaC_Feed_ShOf_V01 |  | BLHaCDnV01 | Buffer line HaC drain valve 1 | XV841 | BufferLine_HaC_Drain_V01 |  | Reserve | Reserve | 842 | Reserve | Reserve | VCIPB3V01 | Vessel CIP ball 3 Valve 1 | XV843 | Vessel_CIP_Ball3_V01 |  | Rserve | Reserve | 844 | Reserve | Reserve | [28 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
|  | Release 2 | 435...439 | [125 empty] | Reserve | Reserve | 435 | Reserve | Reserve | Reserve | Reserve | 436 | Reserve | Reserve | BLCapSfV01 | Buffer line caprylate shutoff valve 1 | XV437 | BufferLine_Capr_ShOf_V01 |  | VBLDrnV02 | Vessel buffer line drain valve 2 | XV438 | Vess_BuffLine_Drain_V02 |  | Reserve | Reserve | 439 | Reserve | Reserve |  |  |  | NA |  |  |  |  | NA |  |  |  |  | NA
| 1308-EMT_B_Outlet_Pump |  | 460…469 | VBotmV01 | Vessel bottom valve 1 | XV460 | Vessel_Bottom_V01 | Vanne fond de cuve | Reserve | Reserve | 461 | Reserve | Reserve | PmpInDnV01 | Pump inlet drain valve 1 | XV462 | Pump_Inlet_Drain_V01 |  | PmpDrnV01 | Pump drain valve 1 | XV463 | Pump_Drain_V01 |  | Pump01 | Motor pump 1 | XM464 | Motor_Pump_XM01 |  | Reserve | Reserve | Reserve | Reserve | Reserve | Reserve | Reserve | Reserve | Reserve | Reserve | CIPShOfV01 | CIP line shutOff valve 01 | XV467 | CIPLine_ShutOff_V01 |  | CIPLnFdV01 | CIP line feeding valve 01 | XV468 | CIPLine_Feeding_V01 |  | Reserve | Reserve | XV469 | Reserve | Reserve | [103 empty] | NA |  |  |  |  | NA |  | PV_PumpInFS01 | Pump inlet flow switch 1 | FS462 | NA
[24 empty] | FCPump01 | Frequency Converter Pump 1 | SY464 | FC_Pump_SY01
| 1310-EMT_B_Outlet |  | 475…489 | VBotmV01 | Vessel bottom valve 1 | XV475 | Vessel_Bottom_V01 | Vanne fond de cuve | TLAirInV01 | Transfer Line air inlet valve 1 | XV476 | TransfLine_Air_Inlet_V01 | Vanne arrivée d'air ligne de transfert | OuLnAirV01 | Vessel outlet line air or CIP valve 1 | XV477 | Vess_OutLine_Air_CIP_V01 |  | OuLnCIPV01 | Vessel outlet line CIP valve 1 | XV478 | Vess_OutLine_CIP_V01 |  | TLFeedV01 | Transfer line feed valve 1 | XV479 | TransferLine_Feed_V01 |  | VLShOfV01 | Vessel outlet line shutOff valve 1 | XV480 | Vessel_OutLine_ShOf_V01 |  | VSIPRDnV01 | Vessel SIP return drain valve 1 | XV481 | Vessel_SIPR_Drain_V01 |  | CIPSIPRV01 | CIP or SIP return shutOff valve 1 | XV482 | CIPSIPR_ShOf_V01 |  | CondDrnV01 | Condensate drain valve 1 | XV483 | Condensate_Drain_V01 |  | CondByPV01 | Condensate Bypass valve 1 | XV484 | Condensate_ByPass_V01 |  | CIPRV01 | CIP return valve 1 | XV485 | CIP_Return_V01 |  | VOutLDnV01 | Vessel outlet line drain valve 1 | XV486 | Vess_OutLine_Drain_V01 |  | Reserve | Reserve | 487 | Reserve | Reserve | Reserve | Reserve | 488 | Reserve | Reserve | Reserve | Reserve | 489 | Reserve | Reserve | [75 empty] | PV_SIPDrnTT01 | SIP drain temperature 1 | TT475 | NA |  | NA | Outlet line position reader 1 | ZS476 | NA |  |  |  |  | NA |  | NA/ | Outlet line drain flexible position | ZS478 | NA |  | NA/ | Outlet line CIP return flexible position | ZS479 | NA
| 1311-EMT_B_Outlet_Distrib |  | 560…574 | Bf1TLFdV01 | Buffer 1 transferline feed valve 1 | XV560 | Buff1_Trsfline_Feed _V01 |  | Bf2TLFdV01 | Buffer2 transfer line feed valve 2 | XV561 | Buff2_Trsfline_Feed _V01 | Vanne d'alimentation ligne tampon 2 | BfDisFdV01 | Buffer distribution feed valve 1 | XV562 | Buffer _Distrib_Feed_V01 |  | BfDisSOfV01 | Buffer distribution shutOff valve 1 | XV563 | Buffer_Distrib_ShOF_V01 |  | BfDisFdV02 | Buffer distribution feed valve 2 | XV564 | Buffer _Distrib_Feed_V02 |  | BDisSOfV02 | Buffer distribution shutOff valve 2 | XV565 | Buffer_Distrib_ShOF_V02 |  | BfDisFdV03 | Buffer distribution feed valve 3 | XV566 | Buffer _Distrib_Feed_V03 |  | BDisSOfV03 | Buffer distribution shutOff valve 3 | XV567 | Buffer_Distrib_ShOF_V03 |  | BfDisFdV04 | Buffer distribution feed valve 4 | XV568 | Buffer _Distrib_Feed_V04 |  | BDisSOfV04 | Buffer distribution shutOff valve 4 | XV569 | Buffer_Distrib_ShOF_V04 |  | BfDisFdV05 | Buffer distribution feed valve 5 | XV570 | Buffer _Distrib_Feed_V05 |  | BLDisSOV01 | Buffer line distribution ShutOff valve 1 | XV571 | BuffLin_Distrib_ShOf_V01 |  | BLDisDnV01 | Buffer line distribution drain valve 1 | XV572 | BuffLin_Distrib_Drn_V01 |  | Reserve | Reserve | 573 | Reserve | Reserve | BLDisSOfV02 | Buffer line distribution ShutOff valve 2 | XV574 | BuffLin_Distrib_ShOf_V02 | [79 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
|  |  | 555…559 | [75 empty] | Reserve | Reserve | 555 | Reserve | Reserve | Reserve | Reserve | 556 | Reserve | Reserve | Reserve | Reserve | 557 | Reserve | Reserve | Reserve | Reserve | 558 | Reserve | Reserve | Reserve | Reserve | 559 | Reserve | Reserve | [53 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
| 1313-EMT_B_Distrib_Buff | Base Version | 525…539 | CIPDiFdV01 | CIP distribution feed valve 1 | XV525 | CIP_Distrib_Feed_V01 |  | CIPDiFdV02 | CIP distribution feed valve 2 | XV526 | CIP_Distrib_Feed_V02 |  | CIPDiFdV03 | CIP distribution feed valve 3 | XV527 | CIP_Distrib_Feed_V03 |  | CIPDiFdV04 | CIP distribution feed valve 4 | XV528 | CIP_Distrib_Feed_V04 |  | CIPDiFdV05 | CIP distribution feed valve 5 | XV529 | CIP_Distrib_Feed_V05 |  | CIPDiFdV06 | CIP distribution feed valve 6 | XV530 | CIP_Distrib_Feed_V06 |  | CIPDiFdV07 | CIP distribution feed valve 7 | XV531 | CIP_Distrib_Feed_V07 |  | CIPDiFdV08 | CIP distribution feed valve 8 | XV532 | CIP_Distrib_Feed_V08 |  | CIPDiSOV01 | CIP distribution shutoff valve 1 | XV533 | CIP_Distrib_ShutOff_V01 |  | Reserve | Reserve | 534 | Reserve | Reserve | Reserve | Reserve | 535 | Reserve | Reserve | Reserve | Reserve | 536 | Reserve | Reserve | Reserve | Reserve | 537 | Reserve | Reserve | Reserve | Reserve | 538 | Reserve | Reserve | Reserve | Reserve | 539 | Reserve | Reserve | [78 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
|  | Release 1 | 830…839 | [75 empty] | BDisFdV01 | Buffer distribution feed valve 1 | XV830 | Buffer_Distrib_Feed_V01 |  | BDisFdV02 | Buffer distribution feed valve 2 | XV831 | Buffer_Distrib_Feed_V02 |  | BDisFdV03 | Buffer distribution feed valve 3 | XV832 | Buffer_Distrib_Feed_V03 |  | BDisFdV04 | Buffer distribution feed valve 4 | XV833 | Buffer_Distrib_Feed_V04 |  | BDisFdV05 | Buffer distribution feed valve 5 | XV834 | Buffer_Distrib_Feed_V05 |  | BDisFdV06 | Buffer distribution feed valve 6 | XV835 | Buffer_Distrib_Feed_V06 |  | BDisSOfV01 | Buffer distribution shutoff valve 1 | XV836 | Buffer_Distrib_ShOf_V01 |  | BDAirFdV01 | Buffer distribution air feed valve 1 | XV837 | Buffer_Dist_Air_feed_V01 |  | BDAirDnV01 | Buffer distribution air drain valve 1 | XV838 | Buffer_Dist_Air_Drn_V01 |  | Reserve | Reserve | 839 | Reserve | Reserve | [28 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
| 1318-EMT_B_CIPR | Base Version | 580…584 | CIPRDrnV01 | Buffer CIP return drain valve 1 | XV580 | Buff_CIPR_Drn_V01 | Vanne de drain retour CIP buffer | CIPRSmpV01 | Buffer CIP return sampling valve 1 | HV581 | Buff_CIPR_Samp_V01 | Vanne prélèvement retour CIP buffer | [20 empty] | CIPRSOfV01 | Buffer CIP return shutOff valve 1 | XV582 | Buffer_CIPR_ShutOff_V01 | Vanne d'isolement retour CIP cuve buffer | CIPRSOfV02 | Buffer CIP return shutOff valve 2 | XV583 | Buffer_CIPR_ShutOff_V02 | Vanne d'isolement retour CIP cuve buffer | Reserve | Reserve | 584 | Reserve | Reserve | [105 empty] | PV_CIPRCT01 | CIP return conductivity 1 | CT580 | NA | Conductivité qualité retour CIP |  |  |  | NA |  |  |  |  | NA
[154 empty] | PV_CIPRIntTT01 | CIP return temperature conductivity sensor 1 | TT580 | NA | Température de compensation conductivité retour CIP
|  | Release 1 | 825…829 | [10 empty] | CIPRInV01 | Buffer CIP return Inlet valve 1 | XV825 | Buffer_CIPR_Inlet_V01 |  | CIPRInV02 | Buffer CIP return Inlet valve 2 | XV826 | Buffer_CIPR_Inlet_V02 |  | CIPRInV03 | Buffer CIP return Inlet valve 3 | XV827 | Buffer_CIPR_Inlet_V03 |  | CIPRInV04 | Buffer CIP return Inlet valve 4 | XV828 | Buffer_CIPR_Inlet_V04 | [16 empty] | Reserve | Reserve | XV829 | Reserve | Reserve | [103 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
| 1321-EMT_IBC |  | 505…509 | IBCLnDnV01 | IBC outlet line drain valve 1 | XV505 | IBC_OutletLine_Drain_V01 | Vanne de drain ligne soutirage IBC | IBCLWfiV01 | IBC outlet line water inlet valve 1 | HV506 |  | Vanne arrivée EPPI ligne soutirage IBC | Reserve | Reserve | 507 | Reserve | Reserve | Reserve | Reserve | 508 | Reserve | Reserve | Reserve | Reserve | 509 | Reserve | Reserve | [125 empty] | PV_OutLinFS01 | IBC outlet line flow switch 1 | FS505 | NA | Détection liquide ligne soutirage IBC |  |  |  | NA |  |  |  |  | NA
| 1322-EMT_Air_Transfer_Pump | Base Version | 515…519 | AirSpSOV01 | Pump air supply ShutOff valve 1 | XV515 | Pump_Air_Supply_ShOf_V01 | Vanne d'isolement alimentation air pompe | PumpOutV01 | Pump outlet valve 1 | XV516 | Pump_Outlet_V01 | Vanne sortie pompe | AirSpFCV01 | Pump air supply flowrate control valve 1 | CV517 | Pump_Air_Supp_Flow_CV01 | Vanne de régulation débit alimentation air pompe | AirSpPCV01 | Pump air supply pressure control valve 1 | CV518 | Pump_Air_Supp_Press_CV01 | Vanne de régulation pression alimentation air pompe | Reserve | Reserve | 519 | Reserve | Reserve | [125 empty] | PV_AirCVPT01 | Pump air control valve pressure 1 | PT518 | NA |  |  |  |  | NA |  |  |  |  | NA
| 1451-EMT_CIP_CIPV | Base Version | 595…609 | CIPFDisV01 | CIP feed distribution valve 1 | XV595 | CIP_Feed_Distrib_V01 | Vanne de distribution aller CIP | CIPFSOfV01 | CIP Feed shutOff valve 1 | XV596 | CIP_Feed_ShutOff_V01 | Vanne d'isolement aller CIP | CIPFDisV02 | CIP feed distribution valve 2 | XV597 | CIP_Feed_Distrib_V02 | Vanne de distribution aller CIP | CIPFSOfV02 | CIP Feed shutOff valve 2 | XV598 | CIP_Feed_ShutOff_V02 | Vanne d'isolement aller CIP | CIPFDisV03 | CIP feed distribution valve 3 | XV599 | CIP_Feed_Distrib_V03 | Vanne de distribution aller CIP | CIPFSOfV03 | CIP Feed shutOff valve 3 | XV600 | CIP_Feed_ShutOff_V03 | Vanne d'isolement aller CIP | CIPFDisV04 | CIP Feed distribution valve 4 | XV601 | CIP_Feed_Distrib_V04 | Vanne de distribution aller CIP | CIPFSOfV04 | CIP Feed shutOff valve 4 | XV602 | CIP_Feed_ShutOff_V04 | Vanne d'isolement aller CIP | CIPFDisV05 | CIP Feed distribution valve 5 | XV603 | CIP_Feed_Distrib_V05 | Vanne de distribution aller CIP | CIPFSOfV05 | CI P Feed shutoff valve 5 | XV604 | CIP_Feed_ShutOff_V05 | Vanne d'isolement aller CIP | CIPFDisV06 | CIP feed distribution valve 6 | XV605 | CIP_Feed_Distrib_V06 | Vanne de distribution aller CIP | Reserve | Reserve | 606 | Reserve | Reserve | CIPFDisV07 | CIP feed distribution valve 7 | XV607 | CIP_Feed_Distrib_V07 | Vanne de distribution aller CIP | Reserve | Reserve | 608 | Reserve | Reserve | Reserve | Reserve | 609 | Reserve | Reserve | [78 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
New actuator | 1452-EMT_CIPR | Base Version | 610…629 | CIPRInV01 | CIP return inlet valve 1 | XV610 | CIPR_Inlet_V01 | Vanne retour CIP équipement | CIPRInV02 | CIP return inlet valve 2 | XV611 | CIPR_Inlet_V02 | Vanne retour CIP équipement | CIPRInV03 | CIP return inlet valve 3 | XV612 | CIPR_Inlet_V03 | Vanne retour CIP équipement | CIPRInV04 | CIP return inlet valve 4 | XV613 | CIPR_Inlet_V04 | Vanne retour CIP équipement | CIPRInV05 | CIP return inlet valve 5 | XV614 | CIPR_Inlet_V05 | Vanne retour CIP équipement | CIPRInV06 | CIP return inlet valve 6 | XV615 | CIPR_Inlet_V06 | Vanne retour CIP équipement | CIPRInV07 | CIP return inlet valve 7 | XV616 | CIPR_Inlet_V07 | Vanne retour CIP équipement | CIPRInV08 | CIP return inlet valve 8 | XV617 | CIPR_Inlet_V08 | Vanne retour CIP équipement | Reserve | 4 | 618 | Reserve | Reserve | CIPRPump01 | CIP return pump 1 | XM619 | CIPR_Pump_XM01 | Pompe retour CIP | CIPRSOfV04 | CIP return shutOff valve 4 | XV620 | CIPR_ShutOff_V04 | Vanne d'isolement retour CIP | CIPRSOfV01 | CIP return shutOff valve 1 | XV621 | CIPR_ShutOff_V01 | Vanne d'isolement retour CIP | CIPRSOfV02 | CIP return shutOff valve 2 | XV622 | CIPR_ShutOff_V02 | Vanne d'isolement retour CIP | CIPRSOfV03 | CIP return shutOff valve 3 | XV623 | CIPR_ShutOff_V03 | Vanne d'isolement retour CIP | CIPRStnV01 | CIP return line station valve 1 | XV624 | CIPR_Station_V01 | Vanne de retour ligne station CIP | CIPRLDnV01 | CIP return line drain valve 1 | XV625 | CIPR_line_Drain_V01 | Vanne de drain ligne retour CIP | CIPRSDnV01 | CIP return line Sampling drain valve 1 (hand valve) | HV626 | CIPR_SampDrain_V02 | Vanne de drain prélèvement ligne retour CIP | CIPRSOfV05 | CIP return shutOff valve 5 | XV627 | CIPR_ShutOff_V05 | Vanne d'isolement retour CIP | CIPRSOfV06 | CIP return shutOff valve 6 | XV628 | CIPR_ShutOff_V06 | Vanne d'isolement retour CIP | CIPRLBkV01 | CIP return line block valve 1 | XV629 | CIPR_Block_V01 | Vanne de barrage ligne retour CIP | [50 empty] | PV_CIPRPmpFS01 | CIP return inlet pump flow switch 1 | FS610 | NA | Détection liquide entrée pompe retour CIP | PV_CIPRTT01 | CIP return Temperature 1 | TT611 | NA | Température retour CIP | PV_CIPRCT01 | CIP return quality conductivity 1 | CT612 | NA | Conductivité retour CIP
[50 empty] | Frequency converter CIP return pump 1 | SY619 | CIPR_Freq_Conv_V01 | Variateur de fréquence pompe retour CIP | [110 empty] | PV_CIPRIntTT01 | CIPR temperature conductivity sensor 1 | TT612 | NA
|  | Release 1 | 845…854 | [100 empty] | CIPRPBPV01 | CIP return pump bypass valve 1 | XV845 | CIPR_Pump_ByP_V01 | Vanne de bypass pompe retour CIP | CIPRPDnV01 | CIP return inlet pump drain valve 1 | XV846 | CIPR_Inlet_Pmp_Drain_V01 | Vanne de drain entrée pompe retour CIP | CIPRISOV01 | CIP return inlet pump shutOff valve 1 | XV847 | CIPR_Inlet_Pmp_ShOf_V01 |  | CIPROSOV01 | CIP return outlet pump shutOff valve 1 | XV848 | CIPR_Outlet_Pmp_ShOf_V01 |  | CIPRInV09 | CIP return inlet valve 9 | XV849 | CIPR_Inlet_V09 |  | CIPRSOfV07 | CIP return shutOff valve 7 | XV850 | CIPR_ShutOff_V07 |  | CIPRSOfV08 | CIP return shutoff valve 8 | XV851 | CIPR_ShutOff_V08 |  | Reserve | Reserve | 852 | Reserve | Reserve | Reserve | Reserve | 853 | Reserve | Reserve | Reserve | Reserve | 854 | Reserve | Reserve |  |  |  | NA |  |  |  |  | NA |  |  |  |  | NA
| 1453-EMT_CIP_Thermal |  | 630…634 | CIPHECV01 | Heat exchanger control valve 1 | CV630 | CIP_HeatExch_CV01 |  | CIPHEV01 | CIP heat exchanger shutoff valve 1 | XV631 | CIP_HeatExch_ShOf_CV01 |  | ThOutHV01 | CIP Thermal outlet manual valve 1 | HV632 |  |  | Reserve | Reserve | 633 | Reserve | Reserve | Reserve | Reserve | 634 | Reserve | Reserve | [125 empty] | PV_CIPHETT01 | CIP heat exchanger outlet temperature 1 | TT630 | NA |  |  |  |  | NA |  |  |  |  | NA
| 1454-EMT_CIP_Inlet |  | 635…649 | VCIPB1V01 | Vessel CIP ball 1 valve 1 | XV635 | Vessel_CIPBall1_V01 |  | VCIPB2V01 | Vessel CIP ball 2 valve 1 | XV636 | Vessel_CIPBall2_V01 |  | CIPRSOV01 | CIP return shutoff valve 1 | XV637 | CIP_Return_ShutOff_V01 |  | CIPDPSOV01 | CIP deep pipe inlet shutoff valve 1 | XV638 | CIP_DeepPipe_In_ShOf_V01 |  | CIPDPInV01 | CIP deep pipe inlet valve 1 | XV639 | CIP_DeepPipe_Inlet_V01 |  | Reserve | Reserve | 640 | Reserve | Reserve | Reserve | Reserve | 641 | Reserve | Reserve | Reserve | Reserve | 642 | Reserve | Reserve | Reserve | Reserve | 643 | Reserve | Reserve | Reserve | Reserve | 644 | Reserve | Reserve | Reserve | Reserve | XV645 | Reserve | Reserve | Reserve | Reserve | 646 | Reserve | Reserve | Reserve | Reserve | 647 | Reserve | Reserve | Reserve | Reserve | 648 | Reserve | Reserve | Reserve | Reserve | 649 | Reserve | Reserve | [78 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
| 1455-EMT_CIP_Outlet |  | 650…664 | CIPPOutV01 | CIP station pump outlet valve 1 | XV650 | CIP_Pump_Outlet_V01 |  | CIPPDrnV01 | CIP station pump drain valve 1 | XV651 | CIP_Pump_Drain_V01 |  | CIPTrfP01 | CIP station transfer pump 1 | XM652 | CIP_Transfer_Pump_V01 |  | Reserve | Reserve | 653 | Reserve | Reserve | Reserve | Reserve | 654 | Reserve | Reserve | [125 empty] | PV_CIPPmpInFS01 | CIP station pump inlet flow switch 1 | FS650 | NA |  |  |  |  | NA |  | PV_CIPPmpOutFS01 | CIP station pump outlet flow switch 1 | FS652 | NA
[14 empty] | FCTrsP01 | Frequency converter transfer tump | SY652 | Freq_Conv_Pump_V01 | [139 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
| 1457-EMT_CIP_Distrib_Feed |  | 670…679 | Reserve | Reserve | 670 | Reserve | Reserve | CIPDrnV01 | CIP station drain valve 1 | XV671 | CIP_Drain_V01 |  | CIPFdSOV01 | CIP station feed shutoff valve 1 | XV672 | CIP_Feed_ShutOff_V01 |  | CIPHEFdV01 | CIP station heat exchanger feed valve 1 | XV673 | CIP_Heat_Exch_Feed_V01 |  | Reserve | Reserve | 674 | Reserve | Reserve | Reserve | Reserve | 675 | Reserve | Reserve | Reserve | Reserve | 676 | Reserve | Reserve | Reserve | Reserve | 677 | Reserve | Reserve | Reserve | Reserve | 678 | Reserve | Reserve | Reserve | Reserve | 679 | Reserve | Reserve | [100 empty] | PV_CIPConcCT01 | CIP station concentration conductivity 1 | CT670 | NA |  |  |  |  | NA |  |  |  |  | NA
[154 empty] | PV_CIPConcIntTT01 | CIP station temperature concentration conductivity sensor 1 | TT670 | NA |  |  |  |  | NA |  |  |  |  | NA
New actuator | 1458-EMT_Distrib_CIP |  | 680…689 | CIPInlV01 | CIP inlet valve 1 | XV680 | CIP_Inlet_V01 | Vanne d'arrivée PoU CIP | CIPLnFdV01 | CIP line feed valve 1 | XV681 | CIP_Line_Feed_V01 | Vanne distribution CIP ligne tampon | CIPLnFdV02 | CIP Line feed valve 2 | XV682 | CIP_Line_Feed_V02 | Vanne distribution CIP ligne tampon | CIPLnFdV03 | CIP Line feed valve 3 | XV683 | CIP_Line_Feed_V03 | Vanne distribution CIP ligne tampon | CIPInlV02 | CIP inlet valve 2 | XV684 | CIP_Inlet_V02 | Vanne arrivée CIP | CIPLnFdV04 | CIP Line feed valve 4 | XV685 | CIP_Line_Feed_V04 | Vanne distribution CIP ligne cuve | CIPLnFdV05 | CIP Line feed valve 5 | XV686 | CIP_Line_Feed_V05 | Vanne distribution CIP ligne cuve | CIPLnFdV06 | CIP Line feed valve 6 | XV687 | CIP_Line_Feed_V06 | Vanne distribution CIP ligne cuve | CIPLDrnV01 | CIP Line drain valve 1 | XV688 | CIP_Line_Drain_V01 | Vanne de drain CIP ligne cuve | CIPpHSOV01 | CIP_Line_pH_Online_V01 | XV689 | CIP Line pH online valve 1 | [104 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
| 1459-EMT_CIP_FCV |  | 385…389 | CIPFdCV01 | CIP feed Control valve 1 | CV385 | CIP_Feed_CV01 |  | CIPDrnV01 | CIP drain valve 1 | XV386 | CIP_Drain_V01 |  | Reserve | Reserve | 387 | Reserve | Reserve | Reserve | Reserve | 388 | Reserve | Reserve | Reserve | Reserve | 389 | Reserve | [126 empty] | PV_CIPFdFT01 | CIP feed flowrate 1 | FT385 | NA |  | PV_CIPFdPT01 | CIP Feed Pressure | PT386 | NA |  |  |  |  | NA
[154 empty] | PV_CIPFdFS01 | Product detection flowmeter sensor 1 | FS385 | NA |  |  |  |  | NA |  |  |  |  | NA
[154 empty] | PV_CIPFdFQ01 | Quantity meter flowmeter 1 | FQ385 | NA |  |  |  |  | NA |  |  |  |  | NA
| 1500-EMT_PoU_NaOH_Conc |  | 775…779 | TransfP01 | NaOH transfer pump 1 | XM775 | NaOH_Conc_Transfer_P01 |  | NaOHDisV01 | NaOH concentration distribution valve 01 | XV776 | NaOH_Conc_Distrib_V01 |  | NaOHDrnV01 | NaOH concentration drain valve 1 | XV777 | NaOH_Conc_Drain_V01 |  | Reserve | Reserve | 653 | Reserve | Reserve | Reserve | Reserve | 779 | Reserve | Reserve | [125 empty] | PV_NaOHConcFT01 | NaOH concentration flowrate 1 | FT775 | NA |  |  |  |  | NA |  |  |  |  | NA
[154 empty] | PV_NaOHConcFS01 | Product detection flowmeter sensor 1 | FS775 | NA |  |  |  |  | NA |  |  |  |  | NA
[5 empty] | Frequency converter transfer tump | SY775 | [147 empty] | PV_NaOHConcFQ01 | Quantity meter flowmeter 1 | FQ775 | NA |  |  |  |  | NA |  |  |  |  | NA
| 1501-EMT_NaOH_Inlet |  | 700…704 | VCIPB3V01 | NaOH vessel CIP ball 3 valve 1 | XV700 | NaOH_Vessel_CIPBall3_V01 |  | VCIPB1V01 | NaOH vessel CIP ball 1 valve 1 | XV701 | NaOH_Vessel_CIPBall1_V01 |  | VCIPB2V01 | NaOH vessel CIP ball 2 valve 1 | XV702 | NaOH_Vessel_CIPBall2_V01 |  | VDPInlV01 | NaOH vessel deep pipe inlet valve 1 | XV703 | NaOH_Ves_DeepPipe_In_V01 |  | Reserve | Reserve | 389 | Reserve | Reserve | [128 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
| 1504-EMT_NaOH_Outlet |  | 715…719 | VBotmV01 | NaOH vessel bottom valve 1 | XV715 | NaOH_Vessel_Bottom_V01 |  | OutDrnV01 | NaOH vessel outlet drain valve 1 | XV716 | NaOH_Vessel_OutDrain_V01 |  | Reserve | Reserve | 717 | Reserve | Reserve | Reserve | Reserve | 718 | Reserve | Reserve | Reserve | Reserve | 719 | Reserve | Reserve | [128 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
| 1507-EMT_NaOH_Return | Base Version | 730…734 | LpR1SOfV01 | NaOH CIP return loop 1 shutoff valve 1 | XV730 | NaOH_LoopReturn1_ShOf_V01 |  | LpR2SOfV01 | NaOH loop return 2 shutoff valve 1 | XV731 | NaOH_LoopReturn2_ShOf_V01 |  | RetDrnV01 | NaOH return drain valve 1 | XV732 | NaOH_Return_Drain_V01 |  | FLSODnV01 | NaOH return feed line shutoff valve 1 | XV733 | NaOH_Ret_FeedL_SO_Dn_V01 |  | LpRSODnV01 | NaOH loops return shutoff drain valve 1 | XV734 | NaOH_LoopR_ShOf_Drn_V01 | [126 empty] | PV_ReturnCT01 | NaOH return conductivity 1 | CT730 | NA |  |  |  |  | NA |  |  |  |  | NA
|  | Release 1 | 735…739 | [25 empty] | FdLnSOfV01 | NaOH feed line shutoff valve 1 | XV735 | NaOH_FeedLn_ShOf_V01 |  | SWFLnV01 | Soft water feed line inlet valve 1 | XV736 | SoftWater_FeedLn_In_V01 |  | RetDrnV02 | NaOH return drain valve 2 | XV737 | NaOH_Return_Drain_V02 |  | Reserve | Reserve | 738 | Reserve | Reserve | Reserve | Reserve | 739 | Reserve | Reserve | [103 empty] | NA |  |  |  |  | NA |  |  |  |  | NA
| 1508-EMT_NaOH_Thermal |  | 765...774 | HESOfV01 | NaOH heat exchanger shutoff valve 1 | XV765 | NaOH_HeatExch_ShOf_V01 |  | HECV01 | NaOH heat exchanger control valve 1 | CV766 | NaOH_HeatExch_CV01 |  | Reserve | Reserve | 767 | Reserve | Reserve | [10 empty] | ThDPManV02 | NaOH Thermal deep pipe manual valve 02 | HV771 |  |  | ThInManV02 | NaOH Thermal inlet manual valve 02 | HV771 |  |  | ThInManV02 | NaOH Thermal inlet manual valve 02 | HV772 |  |  | ThOuManV01 | NaOH Thermal outlet manual valve 01 | HV773 |  |  | ThOuManV02 | NaOH Thermal outlet manual valve 02 | HV774 | [105 empty] | NA |  | PV_NaOHLoopTT01 | NaOH loop return temperature 1 | TT766 | NA |  |  |  |  | NA
| 1509-EMT_NaOH_Loop |  | 740…764 | TransfP01 | Transfer pump 1 | XM740 | NaOH_TransferPump_XM01 | Pompe de transfert NaOH | LoopRV01 | NaOH loop return valve 1 | XV741 | NaOH_Loop_Return_V01 |  | LoopRCV01 | NaOH loop return control valve 1 | CV742 | NaOH_Loop_Return_CV01 |  | Reserve | Reserve | 743 | Reserve | Reserve | PmpInV01 | NaOH loop pump inlet valve 1 | XV744 | NaOH_Loop_Pump_Inlet_V01 |  | NaOHDisV01 | NaOH loop distribution valve 1 | XV745 | NaOH_Loop_Distrib_V01 |  | NaOHDisV02 | NaOH loop distribution valve 2 | XV746 | NaOH_Loop_Distrib_V02 |  | NaOHDisV03 | NaOH loop distribution valve 3 | XV747 | NaOH_Loop_Distrib_V03 |  | NaOHDisV04 | NaOH loop distribution valve 4 | XV748 | NaOH_Loop_Distrib_V04 |  | NaOHDisV05 | NaOH loop distribution valve 5 | XV749 | NaOH_Loop_Distrib_V05 |  | NaOHDisV06 | NaOH loop distribution valve 6 | XV750 | NaOH_Loop_Distrib_V06 |  | NaOHDisV07 | NaOH loop distribution valve 7 | XV751 | NaOH_Loop_Distrib_V07 |  | NaOHDisV08 | NaOH loop distribution valve 8 | XV752 | NaOH_Loop_Distrib_V08 |  | Reserve | Reserve | 753 | Reserve | Reserve | PmpOutV01 | NaOH loop pump outlet valve 1 | XV754 | NaOH_Loop_Pump_Out_V01 |  | Reserve | Reserve | 755 | Reserve | Reserve | Reserve | Reserve | 556 | Reserve | Reserve | Reserve | Reserve | 557 | Reserve | Reserve | PpInSOHV01 | NaOH loop pump inlet shutoff manual valve 1 | HV758 | NaOH_Pump_Inlet_ShOf_HV01 |  | PmpSWInV01 | NaOH loop pump soft water inlet valve 1 | XV759 | NaOH_Pump_SW_Inlet_V01 |  | Reserve | Reserve | 760 | Reserve | Reserve | PumpDrnHV01 | NaOH loop pump drain manual valve 1 | HV761 | NaOH_Loop_Pump_Drain_HV01 |  | Reserve | Reserve | 762 | Reserve | Reserve | PpOutDnV01 | NaOH loop pump outlet drain valve 01 | XV763 | NaOH_Pump_Outlet_Drn_V01 |  | PpOutSOHV01 | NaOH loop pump outlet shutoff manual valve 1 | HV764 | NaOH_Pump_Outlet_SOf_HV01 | [26 empty] | PV_PumpOutCT01 | NaOH loop pump outlet conductivity 1 | CT740 | NA |  | PV_LoopRPT01 | NaOH loop return pressure 1 | PT741 | NA |  | PV_PumpInlFS01 | NaOH pump inlet flow switch 1 | FS742 | NA | [6 empty] | PV_LoopRFT01 | NaOH loop return flowrate 1 | FT744
[157 empty] | NA |  |  |  |  | NA |  |  |  |  | NA | [6 empty] | PV_LoopRFS01 | Product detection flowmeter sensor 1 | FS744
[5 empty] | Frequency converter transfer pump 1 | SY740 | [150 empty] | NA |  |  |  |  | NA |  |  |  |  | NA | [6 empty] | PV_LoopRFQ01 | Quantity meter flowmeter 1 | FQ744
| 1510-EMT_NaOH_PoU_WFI |  | 780…784 | Reserve | Reserve | 780 | Reserve |  | Reserve | Reserve | 781 | Reserve | Reserve | WfiDrnV01 | NaOH WFI Point of use drain valve 1 | XV782 | NaOH_WFI_PoU_Drain_V01 |  | WfiDistV01 | NaOH WFI Point of Use distribution valve 1 | XV783 | NaOH_WFI_PoU_Distrib_V01 |  | Reserve | Reserve | 784 | Reserve | Reserve | [125 empty] | PV_WFIFeedFT01 | NaOH WFI Point of use feeding flowrate 1 | FT780 | NA |  |  |  |  | NA |  |  |  |  | NA
[154 empty] | PV_WFIFeedFS01 | Product detection flowmeter sensor 1 | FS780 | NA |  |  |  |  | NA |  |  |  |  | NA
[154 empty] | PV_WFIFeedFQ01 | Quantity meter flowmeter 1 | FQ780 | NA |  |  |  |  | NA |  |  |  |  | NA
Common TAG's
| Common |  | free from 900…to 984 | Light_Glass | On-Off Light Glass | LG900 |  |  | Light_Ind01 | Light indicator 1 | IL901 |  |  | InlpHV01 | Inlet pH Vessel manual valve | HV902 |  |  | OutpHV01 | pH Vessel outlet manual valve 1 | HV903 |  |  | PrTrfPmp01 | Process transfert pump 1 | XM904 |  |  |  |  | 905 |  |  |  |  | 906 |  |  |  |  | 907 |  |  |  |  | 908 |  |  | RetTyHV01 | Retention tray | HV909 |  |  | CIPSampHV01 | CIP Sampling manual valve 1 | HV910 |  |  |  |  | 911 |  |  |  |  | 912 |  |  |  |  | 913 | [82 empty] | PV_LSHH01 | Vessel High High Level Switch 1 | LS900 | NA | Détection niveau très haut | NA/ManHZS01 | Vessel manhole position sensor 1 | ZS901 |  |  | PV_TT_pH_Ster | TT condensate Steril pH Vessel | TT902 |  |  | PV_OnLinepH01 | Vessel online pH 1 | pH903 | NA | pH en ligne cuve | PV_ProdTT01 | Vessel product temperature 1 | TT904 |  | Température produit 1 cuve | PV_ProdTT02 | Vessel product temperature 2 | TT905 |  | Température produit 2 cuve | PV_VWT01 | Vessel Weight 1 | WT906 |  | Masse cuve | PV_VPI01 | Vessel pressure indicator 1 | PI907 |  | Manomètre pression cuve | PV_DiscPS01 | Rupture Disc switch 1 | PS908 |  | Disque de rupture | PV_RetLSHH01 | Retention tray High High Level Switch 1 | LS909 |  | Détection niveau haut bac de rétention
[169 empty] | PV_OnLineTT01 | Vessel online temperature pH sensor 1 | TT903 | NA | Température de compensation pH en ligne cuve
[169 empty] | PV_OnLineZS01 | Vessel online pH position sensor 1 | ZS903 | NA | Détection position sonde pH en ligne cuve | [5 empty] | NA | OffLine transmitter | AT915 | NA | Transmetteur Multi stratos de paillasse
[154 empty] | PV_LT01 | Vessel Level 1 | LT910 | NA | Niveau cuve | PV_NaOHConcCT01 | NaOH Concentration conductivity 1 | CT911 | NA | Conductivité concentration NaOH | PV_OffLineCT01 | OffLine conductivity 1 | CT912 | NA | Conductivité hors ligne | PV_OffLinePH01 | Offline pH 1 | pH913 | NA | pH hors ligne | PV_OffLineTT01 | Offline TT 1 | TT914 | NA | Température hors ligne
[164 empty] | PV_OffLineTT01 | OffLine temperature conductivity sensor 1 | TT912 | NA | Température de compensation conductivité hors ligne | PV_OffLineTT01 | OffLine temperature pH sensor 1 | TT913 | NA | Température de compensation pH hors ligne
[156 empty] | 920 | NA
[156 empty] | 930 | NA
[156 empty] | 940 | NA
[156 empty] | 950 | NA
[156 empty] | 960 | NA
[156 empty] | 970 | NA
| AIR Distrib |  | 985 to 999 | ElCabHV01 | Electric cabinet connection manual valve 1 | HV985 |  |  | PAirDisHV01 | Process air distribution valve 1 | HV986 |  |  | PAirDisHV02 | Process air distribution valve 2 | HV987 |  |  | PAirDisHV03 | Process air distribution valve 3 | HV988 |  |  | PAirDisHV04 | Process air distribution valve 4 | HV989 |  |  | PAirDisHV05 | Process air distribution valve 5 | HV990 |  |  | PAirDisHV06 | Process air distribution valve 6 | HV991 |  |  | PAirDisHV07 | Process air distribution valve 7 | HV992 |  |  | PAirDisHV08 | Process air distribution valve 8 | HV993 |  |  | ElCabHV02 | Electric cabinet connection manual valve 2 | HV994 |  |  | ElCabHV03 | Electric cabinet connection manual valve 3 | HV995 |  |  | ElCabHV04 | Electric cabinet connection manual valve 4 | HV996 |  |  | ABSOHV01 | Air break shutOff manual valve 1 | HV997 | [89 empty] | 980 | NA
[154 empty] | NA | CIP return sampling point | AP990 | NA | Point de prélèvement CIP
Ems deleted / not used anymore
|  |  | 855…864 | [153 empty] | NA |  |  |  |  | NA
| Available ranges: |  | 400…409
420…434
470…474
520…524
540…549
690…699
720…729
785…799
810 - 811
814
890…899
Note on FK34: [Commentaire à thread] Votre version d’Excel vous permet de lire ce commentaire à thread. Toutefois, les modifications qui y sont apportées seront supprimées si le fichier est ouvert dans une version plus récente d’Excel. En savoir plus : https://go.microsoft.com/fwlink/?linkid=870924 Commentaire : Suppression d’un espace entre temperature et 1
Note on FT42: [Commentaire à thread] Votre version d’Excel vous permet de lire ce commentaire à thread. Toutefois, les modifications qui y sont apportées seront supprimées si le fichier est ouvert dans une version plus récente d’Excel. En savoir plus : https://go.microsoft.com/fwlink/?linkid=870924 Commentaire : Envoyé par com depuis le filtre-presse par EATON
Note on GD45: [Commentaire à thread] Votre version d’Excel vous permet de lire ce commentaire à thread. Toutefois, les modifications qui y sont apportées seront supprimées si le fichier est ouvert dans une version plus récente d’Excel. En savoir plus : https://go.microsoft.com/fwlink/?linkid=870924 Commentaire : Envoyé par com depuis le filtre-presse par EATON
Note on FF68: [Commentaire à thread] Votre version d’Excel vous permet de lire ce commentaire à thread. Toutefois, les modifications qui y sont apportées seront supprimées si le fichier est ouvert dans une version plus récente d’Excel. En savoir plus : https://go.microsoft.com/fwlink/?linkid=870924 Commentaire : Un espace retiré entre permeate et fowrate
Note on FP68: [Commentaire à thread] Votre version d’Excel vous permet de lire ce commentaire à thread. Toutefois, les modifications qui y sont apportées seront supprimées si le fichier est ouvert dans une version plus récente d’Excel. En savoir plus : https://go.microsoft.com/fwlink/?linkid=870924 Commentaire : Suppression d’un espace entre measurement et 1
Note on FA71: [Commentaire à thread] Votre version d’Excel vous permet de lire ce commentaire à thread. Toutefois, les modifications qui y sont apportées seront supprimées si le fichier est ouvert dans une version plus récente d’Excel. En savoir plus : https://go.microsoft.com/fwlink/?linkid=870924 Commentaire : Suppression d’un espace entre pressure et 1

## Rules
Legend | [ X ] CM_ActuatorN° or CM_InstrumN° to update
[ X ] CM_ActuatorN° or CM_InstrumN° have been updated/checked
[ X ] CM_ActuatorN° or CM_InstrumN° available item
[ X ] CM_ActuatorN° or CM_InstrumN° reserved item
Old
| Process | Tag Rule:
| Buffer and PoU | Actuators: | Each actuator will have a unique tag belonging to the value range of its EM in increasing order. However the actuator is an XV or another kind (ex: XM), the tag shall remain unique
| CIP |  | Each EM has a value range based on its number of actuators in the basic design. Therefore it may change if an update occures in this EM for a reason (P&ID update for instance). If the update goes beyond the initial range, a release in made starting on value 800 and following.
Utilities
Deleted EM
Updated EM
Added EM
| Update after P0.00 (13/12/2021 feedback to Billfinger) | Instruments: | Instruments follow the same naming rule as before, starting on the same value as actuators (it means the instrums share the same tag as actuators but they are treated separately).
TK modif after 13/12/2021
| Manual valve |  | The exclusivity and increasing values still apply on instuments